{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":30,"n_cols":76,"rows_kept":30,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.1.54.3","I7017_1_V1","温度11","3","68","0","1","30","cmd-1","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["2","5.1.54.3","I7017_1_V2","湿度11","3","68","0","1","30","cmd-2","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["3","5.1.54.3","I7017_1_V3","温度12","1","68","0","1","30","cmd-3","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["4","5.1.54.3","I7017_1_V4","湿度12","1","68","0","1","30","cmd-4","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["5","5.1.54.3","I7017_1_V5","AI5","1","68","0","1","30","cmd-5","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["6","5.1.54.3","I7017_1_V6","AI6","1","68","0","1","30","cmd-6","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["7","5.1.54.3","I7017_1_V7","AI7","1","68","0","1","30","cmd-7","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["8","5.1.54.3","I7017_1_V8","AI8","1","68","0","1","30","cmd-8","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["81","5.1.54.3","I7017_1_Communications","I7017_1_通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","5.1.54.4","I7017_2_V1","温度13","3","68","0","1","30","cmd-1","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["2","5.1.54.4","I7017_2_V2","湿度13","3","68","0","1","30","cmd-2","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["3","5.1.54.4","I7017_2_V3","温度14","1","68","0","1","30","cmd-3","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["4","5.1.54.4","I7017_2_V4","湿度14","1","68","0","1","30","cmd-4","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["5","5.1.54.4","I7017_2_V5","AI5","1","68","0","1","30","cmd-5","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["6","5.1.54.4","I7017_2_V6","AI6","1","68","0","1","30","cmd-6","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["7","5.1.54.4","I7017_2_V7","AI7","1","68","0","1","30","cmd-7","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["8","5.1.54.4","I7017_2_V8","AI8","1","68","0","1","30","cmd-8","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["81","5.1.54.3","I7017_2_Communications","I7017_2_通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","5.1.54.5","I7017_3_V1","温度15","3","68","0","1","30","cmd-1","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["2","5.1.54.5","I7017_3_V2","湿度15","3","68","0","1","30","cmd-2","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["3","5.1.54.5","I7017_3_V3","AI3","1","68","0","1","30","cmd-3","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["4","5.1.54.5","I7017_3_V4","AI4","1","68","0","1","30","cmd-4","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["5","5.1.54.5","I7017_3_V5","AI5","1","68","0","1","30","cmd-5","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["6","5.1.54.5","I7017_3_V6","AI6","1","68","0","1","30","cmd-6","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["7","5.1.54.5","I7017_3_V7","AI7","1","68","0","1","30","cmd-7","type-1","0","30","60","1",null,null,"20","4","50","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["8","5.1.54.5","I7017_3_V8","AI8","1","68","0","1","30","cmd-8","type-1","0","30","60","1",null,null,"20","4","100","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"50","0","100","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["81","5.1.54.3","I7017_3_Communications","I7017_3_通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]