{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":75,"n_cols":76,"rows_kept":75,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["87","4.11.18.1","UPS1_systemStatus","UPS1systemStatus","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.1.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","0.1000000015","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","2","1,2,","warning,critical,"]
["88","4.11.18.1","UPS1_inletAirTemperature","inletAirTemperature","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.1.2.0","public","0","0","0","0","15","32","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["89","4.11.18.1","UPS1_dcBusVoltage","dcBusVoltage","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.1.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["90","4.11.18.1","UPS1_inputLineVoltageA","inputLineVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["91","4.11.18.1","UPS1_inputLineVoltageB","inputLineVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["92","4.11.18.1","UPS1_inputLineVoltageC","inputLineVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["93","4.11.18.1","UPS1_inputPhaseVoltageA","inputPhaseVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["94","4.11.18.1","UPS1_inputPhaseVoltageB","inputPhaseVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.5.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["95","4.11.18.1","UPS1_inputPhaseVoltageC","inputPhaseVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.6.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["96","4.11.18.1","UPS1_inputCurrentA","inputCurrentA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.7.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["97","4.11.18.1","UPS1_inputCurrentB","inputCurrentB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.8.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["98","4.11.18.1","UPS1_inputCurrentC","inputCurrentC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.9.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["99","4.11.18.1","UPS1_inputFrequency","inputFrequency","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.10.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["100","4.11.18.1","UPS1_bypassPhaseVoltageA","bypassPhaseVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["101","4.11.18.1","UPS1_bypassPhaseVoltageB","bypassPhaseVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["102","4.11.18.1","UPS1_bypassPhaseVoltageC","bypassPhaseVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["103","4.11.18.1","UPS1_bypassFrequency","bypassFrequency","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["104","4.11.18.1","UPS1_outputPhaseVoltageA","outputPhaseVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["105","4.11.18.1","UPS1_outputPhaseVoltageB","outputPhaseVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["106","4.11.18.1","UPS1_outputPhaseVoltageC","outputPhaseVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["107","4.11.18.1","UPS1_outputCurrentA","outputCurrentA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["108","4.11.18.1","UPS1_outputCurrentB","outputCurrentB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.5.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["109","4.11.18.1","UPS1_outputCurrentC","outputCurrentC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.6.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["110","4.11.18.1","UPS1_outputFrequency","outputFrequency","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.7.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["111","4.11.18.1","UPS1_outputActivePowerA","outputActivePowerA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.11.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["112","4.11.18.1","UPS1_outputActivePowerB","outputActivePowerB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.12.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["113","4.11.18.1","UPS1_outputActivePowerC","outputActivePowerC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.13.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["114","4.11.18.1","UPS1_outputApparentPowerA","outputApparentPowerA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.14.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["115","4.11.18.1","UPS1_outputApparentPowerB","outputApparentPowerB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.15.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["116","4.11.18.1","UPS1_outputApparentPowerC","outputApparentPowerC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.16.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["117","4.11.18.1","UPS1_outputLoadA","outputLoadA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.20.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["118","4.11.18.1","UPS1_outputLoadB","outputLoadB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.21.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["119","4.11.18.1","UPS1_outputLoadC","outputLoadC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.22.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["120","4.11.18.1","UPS1_batteryVoltage","batteryVoltage","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["121","4.11.18.1","UPS1_batteryCurrent","batteryCurrent","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["122","4.11.18.1","UPS1_batteryRemainsTime","batteryRemainsTime","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["123","4.11.18.1","UPS1_batteryTemperature","batteryTemperature","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["124","4.11.18.2","UPS2_systemStatus","UPS2systemStatus","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.1.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","2","1,2,","warning,critical,"]
["125","4.11.18.2","UPS2_inletAirTemperature","inletAirTemperature","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.1.2.0","public","0","0","0","0","15","32","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["126","4.11.18.2","UPS2_dcBusVoltage","dcBusVoltage","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.1.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["127","4.11.18.2","UPS2_inputLineVoltageA","inputLineVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["128","4.11.18.2","UPS2_inputLineVoltageB","inputLineVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["129","4.11.18.2","UPS2_inputLineVoltageC","inputLineVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["130","4.11.18.2","UPS2_inputPhaseVoltageA","inputPhaseVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["131","4.11.18.2","UPS2_inputPhaseVoltageB","inputPhaseVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.5.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["132","4.11.18.2","UPS2_inputPhaseVoltageC","inputPhaseVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.6.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["133","4.11.18.2","UPS2_inputCurrentA","inputCurrentA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.7.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["134","4.11.18.2","UPS2_inputCurrentB","inputCurrentB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.8.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["135","4.11.18.2","UPS2_inputCurrentC","inputCurrentC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.9.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["136","4.11.18.2","UPS2_inputFrequency","inputFrequency","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.2.10.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["137","4.11.18.2","UPS2_bypassPhaseVoltageA","bypassPhaseVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["138","4.11.18.2","UPS2_bypassPhaseVoltageB","bypassPhaseVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["139","4.11.18.2","UPS2_bypassPhaseVoltageC","bypassPhaseVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["140","4.11.18.2","UPS2_bypassFrequency","bypassFrequency","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.3.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["141","4.11.18.2","UPS2_outputPhaseVoltageA","outputPhaseVoltageA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["142","4.11.18.2","UPS2_outputPhaseVoltageB","outputPhaseVoltageB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["143","4.11.18.2","UPS2_outputPhaseVoltageC","outputPhaseVoltageC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["144","4.11.18.2","UPS2_outputCurrentA","outputCurrentA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["145","4.11.18.2","UPS2_outputCurrentB","outputCurrentB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.5.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["146","4.11.18.2","UPS2_outputCurrentC","outputCurrentC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.6.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["147","4.11.18.2","UPS2_outputFrequency","outputFrequency","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.7.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["148","4.11.18.2","UPS2_outputActivePowerA","outputActivePowerA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.11.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["149","4.11.18.2","UPS2_outputActivePowerB","outputActivePowerB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.12.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["150","4.11.18.2","UPS2_outputActivePowerC","outputActivePowerC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.13.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["151","4.11.18.2","UPS2_outputApparentPowerA","outputApparentPowerA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.14.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["152","4.11.18.2","UPS2_outputApparentPowerB","outputApparentPowerB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.15.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["153","4.11.18.2","UPS2_outputApparentPowerC","outputApparentPowerC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.16.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["154","4.11.18.2","UPS2_outputLoadA","outputLoadA","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.20.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["155","4.11.18.2","UPS2_outputLoadB","outputLoadB","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.21.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["156","4.11.18.2","UPS2_outputLoadC","outputLoadC","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.4.22.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["157","4.11.18.2","UPS2_batteryVoltage","batteryVoltage","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.1.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["158","4.11.18.2","UPS2_batteryCurrent","batteryCurrent","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.2.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["159","4.11.18.2","UPS2_batteryRemainsTime","batteryRemainsTime","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.3.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["160","4.11.18.2","UPS2_batteryTemperature","batteryTemperature","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.13400.2.14.2.5.4.0","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","18",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]