{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":57,"n_cols":76,"rows_kept":57,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","14.32.190.1","ADU1000_1_BatteryVol1","蓄电池检测* 单体电压1","1","0","0","1","0","cmd-3","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","14.32.190.1","ADU1000_1_BatteryVol2","蓄电池检测* 单体电压2","1","0","0","1","0","cmd-4","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","14.32.190.1","ADU1000_1_BatteryVol3","蓄电池检测* 单体电压3","1","0","0","1","0","cmd-5","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","14.32.190.1","ADU1000_1_BatteryVol4","蓄电池检测* 单体电压4","1","0","0","1","0","cmd-6","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","14.32.190.1","ADU1000_1_BatteryVol5","蓄电池检测* 单体电压5","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","14.32.190.1","ADU1000_1_BatteryVol6","蓄电池检测* 单体电压6","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","14.32.190.1","ADU1000_1_BatteryVol7","蓄电池检测* 单体电压7","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","14.32.190.1","ADU1000_1_BatteryVol8","蓄电池检测* 单体电压8","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","14.32.190.1","ADU1000_1_BatteryVol9","蓄电池检测* 单体电压9","1","0","0","1","0","cmd-11","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","14.32.190.1","ADU1000_1_BatteryVol10","蓄电池检测* 单体电压10","1","0","0","1","0","cmd-12","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","14.32.190.1","ADU1000_1_BatteryVol11","蓄电池检测* 单体电压11","1","0","0","1","0","cmd-13","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","14.32.190.1","ADU1000_1_BatteryVol12","蓄电池检测* 单体电压12","1","0","0","1","0","cmd-14","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","14.32.190.1","ADU1000_1_BatteryVol13","蓄电池检测* 单体电压13","1","0","0","1","0","cmd-15","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["14","14.32.190.1","ADU1000_1_BatteryVol14","蓄电池检测* 单体电压14","1","0","0","1","0","cmd-16","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["15","14.32.190.1","ADU1000_1_BatteryVol15","蓄电池检测* 单体电压15","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["16","14.32.190.1","ADU1000_1_BatteryVol16","蓄电池检测* 单体电压16","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["17","14.32.190.1","ADU1000_1_BatteryVol17","蓄电池检测* 单体电压17","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["18","14.32.190.1","ADU1000_1_BatteryVol18","蓄电池检测* 单体电压18","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["19","14.32.190.1","ADU1000_1_BatteryVol19","蓄电池检测* 单体电压19","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["20","14.32.190.1","ADU1000_1_BatteryVol20","蓄电池检测* 单体电压20","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["21","14.32.190.1","ADU1000_1_BatteryVol21","蓄电池检测* 单体电压21","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","14.32.190.1","ADU1000_1_BatteryVol22","蓄电池检测* 单体电压22","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","14.32.190.1","ADU1000_1_BatteryVol23","蓄电池检测* 单体电压23","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","14.32.190.1","ADU1000_1_BatteryVol24","蓄电池检测* 单体电压24","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","14.32.190.1","ADU1000_1_BatteryVol25","蓄电池检测* 单体电压25","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","14.32.190.1","ADU1000_1_BatteryVol26","蓄电池检测* 单体电压26","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","14.32.190.1","ADU1000_1_BatteryVol27","蓄电池检测* 单体电压27","1","0","0","1","0","cmd-29","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","14.32.190.1","ADU1000_1_BatteryVol28","蓄电池检测* 单体电压28","1","0","0","1","0","cmd-30","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","14.32.190.1","ADU1000_1_BatteryVol29","蓄电池检测* 单体电压29","1","0","0","1","0","cmd-31","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","14.32.190.1","ADU1000_1_BatteryVol30","蓄电池检测* 单体电压30","1","0","0","1","0","cmd-32","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","14.32.190.1","ADU1000_1_BatteryVol31","蓄电池检测* 单体电压31","1","0","0","1","0","cmd-33","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","14.32.190.1","ADU1000_1_BatteryVol32","蓄电池检测* 单体电压32","1","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","14.32.190.1","ADU1000_1_BatteryVol33","蓄电池检测* 单体电压33","1","0","0","1","0","cmd-35","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["34","14.32.190.1","ADU1000_1_BatteryVol34","蓄电池检测* 单体电压34","1","0","0","1","0","cmd-36","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["35","14.32.190.1","ADU1000_1_BatteryVol35","蓄电池检测* 单体电压35","1","0","0","1","0","cmd-37","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["36","14.32.190.1","ADU1000_1_BatteryVol36","蓄电池检测* 单体电压36","1","0","0","1","0","cmd-38","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["37","14.32.190.1","ADU1000_1_BatteryVol37","蓄电池检测* 单体电压37","1","0","0","1","0","cmd-39","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["38","14.32.190.1","ADU1000_1_BatteryVol38","蓄电池检测* 单体电压38","1","0","0","1","0","cmd-40","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["39","14.32.190.1","ADU1000_1_BatteryVol39","蓄电池检测* 单体电压39","1","0","0","1","0","cmd-41","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","14.32.190.1","ADU1000_1_BatteryVol40","蓄电池检测* 单体电压40","1","0","0","1","0","cmd-42","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["41","14.32.190.1","ADU1000_1_BatteryVol41","蓄电池检测* 单体电压41","1","0","0","1","0","cmd-43","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["42","14.32.190.1","ADU1000_1_BatteryVol42","蓄电池检测* 单体电压42","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["43","14.32.190.1","ADU1000_1_BatteryVol43","蓄电池检测* 单体电压43","1","0","0","1","0","cmd-45","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["44","14.32.190.1","ADU1000_1_BatteryVol44","蓄电池检测* 单体电压44","1","0","0","1","0","cmd-46","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["45","14.32.190.1","ADU1000_1_BatteryVol45","蓄电池检测* 单体电压45","1","0","0","1","0","cmd-47","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["46","14.32.190.1","ADU1000_1_BatteryVol46","蓄电池检测* 单体电压46","1","0","0","1","0","cmd-48","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["47","14.32.190.1","ADU1000_1_BatteryVol47","蓄电池检测* 单体电压47","1","0","0","1","0","cmd-49","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["48","14.32.190.1","ADU1000_1_BatteryVol48","蓄电池检测* 单体电压48","1","0","0","1","0","cmd-50","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["49","14.32.190.1","ADU1000_1_BatteryVol49","蓄电池检测* 单体电压49","1","0","0","1","0","cmd-51","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["50","14.32.190.1","ADU1000_1_TotalVol1","蓄电池检测* 总电压1","1","0","0","1","0","cmd-53","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["51","14.32.190.1","ADU1000_1_TotalVol2","蓄电池检测* 总电压2","1","0","0","1","0","cmd-54","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["52","14.32.190.1","ADU1000_1_TotalCurrent11","蓄电池检测* 电流1","1","0","0","1","0","cmd-56","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["53","14.32.190.1","ADU1000_1_TotalCurrent12","蓄电池检测* 电流2","1","0","0","1","0","cmd-57","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["54","14.32.190.1","ADU1000_1_BatteryTemp1","蓄电池检测* 电池温度1","1","0","0","1","0","cmd-59","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["55","14.32.190.1","ADU1000_1_BatteryTemp2","蓄电池检测* 电池温度2","1","0","0","1","0","cmd-60","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.0000000000","3","0","1","1","0","0","0","0","190",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["56","14.32.190.1","ADU1000_1_status","蓄电池检测* 检测模块通信","1000","0","0","1","0",null,null,"0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","114",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]