{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":35,"n_cols":76,"rows_kept":35,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","是否触发远程报警","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.1.54.6","HG7053_6_Di1","14楼大铁门状态","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["2","5.1.54.6","HG7053_6_Di2","14楼会议室1401门状态","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["3","5.1.54.6","HG7053_6_Di3","14楼一大队办公室1404门状态","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["4","5.1.54.6","HG7053_6_Di4","14楼1405门状态","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["5","5.1.54.6","HG7053_6_Di5","14楼二大队办公室1406门状态","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["6","5.1.54.6","HG7053_6_Di6","14楼1409门状态","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["7","5.1.54.6","HG7053_6_Di7","14楼一大队器材室1414门状态","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["8","5.1.54.6","HG7053_6_Di8","15楼大铁门状态","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["9","5.1.54.6","HG7053_6_Di9","15楼指挥室1501门状态","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["10","5.1.54.6","HG7053_6_Di10","15楼接案室1502门状态","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["11","5.1.54.6","HG7053_6_Di11","15楼档案室1504门状态","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["12","5.1.54.6","HG7053_6_Di12","15楼综合科1513门状态","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["13","5.1.54.6","HG7053_6_Di13","16楼主机房不锈钢防火门状态","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["14","5.1.54.6","HG7053_6_Di14","16楼主机房玻璃门状态","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["15","5.1.54.6","HG7053_6_Di15","16楼大铁门状态","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["16","5.1.54.6","HG7053_6_Di16","16楼指挥中心1601A门状态","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["1","5.1.54.6","HG7053_6_Communications","门磁模块1通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.7","HG7053_7_Di1","16楼一大队器材室1614门状态","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["2","5.1.54.7","HG7053_7_Di2","16楼指挥中心1601B门状态","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["3","5.1.54.7","HG7053_7_Di3","16楼备件仓房1608门状态","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["4","5.1.54.7","HG7053_7_Di4","16楼值班室1606门状态","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["5","5.1.54.7","HG7053_7_Di5","16楼控制编辑室1605门状态","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["6","5.1.54.7","HG7053_7_Di6","16楼训练室1612门状态","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["7","5.1.54.7","HG7053_7_Di7","16楼荣誉室1604门状态","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["8","5.1.54.7","HG7053_7_Di8","16楼三大队办公室1613","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["9","5.1.54.7","HG7053_7_Di9","备用","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["10","5.1.54.7","HG7053_7_Di10","备用","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["11","5.1.54.7","HG7053_7_Di11","备用","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["12","5.1.54.7","HG7053_7_Di12","备用","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["13","5.1.54.7","HG7053_7_Di13","备用","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["14","5.1.54.7","HG7053_7_Di14","备用","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["15","5.1.54.7","HG7053_7_Di15","备用","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["16","5.1.54.7","HG7053_7_Di16","备用","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["1","5.1.54.7","HG7053_7_Communications","门磁模块2通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]

{"sheet":"CSpreadSheetBackup","index":1,"n_rows":35,"n_cols":76,"rows_kept":35,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","是否触发远程报警","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.1.54.6","HG7053_6_Di1","14楼大铁门状态","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["2","5.1.54.6","HG7053_6_Di2","14楼会议室1401门状态","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["3","5.1.54.6","HG7053_6_Di3","14楼一大队办公室1404门状态","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["4","5.1.54.6","HG7053_6_Di4","14楼1405门状态","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["5","5.1.54.6","HG7053_6_Di5","14楼二大队办公室1406门状态","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["6","5.1.54.6","HG7053_6_Di6","14楼1409门状态","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["7","5.1.54.6","HG7053_6_Di7","14楼一大队器材室1414门状态","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["8","5.1.54.6","HG7053_6_Di8","15楼大铁门状态","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["9","5.1.54.6","HG7053_6_Di9","15楼指挥室1501门状态","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["10","5.1.54.6","HG7053_6_Di10","15楼接案室1502门状态","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["11","5.1.54.6","HG7053_6_Di11","15楼档案室1504门状态","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["12","5.1.54.6","HG7053_6_Di12","15楼综合科1513门状态","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["13","5.1.54.6","HG7053_6_Di13","15楼主机房不锈钢防火门状态","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["14","5.1.54.6","HG7053_6_Di14","15楼主机房玻璃门状态","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["15","5.1.54.6","HG7053_6_Di15","16楼大铁门状态","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["16","5.1.54.6","HG7053_6_Di16","16楼指挥中心1601A门状态","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["1","5.1.54.6","HG7053_6_Communications","门磁模块1通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.7","HG7053_7_Di1","16楼一大队器材室1614门状态","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["2","5.1.54.7","HG7053_7_Di2","16楼指挥中心1601B门状态","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["3","5.1.54.7","HG7053_7_Di3","16楼备件仓房1608门状态","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["4","5.1.54.7","HG7053_7_Di4","16楼值班室1606门状态","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["5","5.1.54.7","HG7053_7_Di5","16楼控制编辑室1605门状态","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["6","5.1.54.7","HG7053_7_Di6","16楼训练室1612门状态","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["7","5.1.54.7","HG7053_7_Di7","16楼荣誉室1604门状态","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["8","5.1.54.7","HG7053_7_Di8","16楼三大队办公室1613","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["9","5.1.54.7","HG7053_7_Di9","备用9","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["10","5.1.54.7","HG7053_7_Di10","备用10","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["11","5.1.54.7","HG7053_7_Di11","备用11","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["12","5.1.54.7","HG7053_7_Di12","备用12","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["13","5.1.54.7","HG7053_7_Di13","备用13","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["14","5.1.54.7","HG7053_7_Di14","备用14","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["15","5.1.54.7","HG7053_7_Di15","备用15","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["16","5.1.54.7","HG7053_7_Di16","备用16","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["1","5.1.54.7","HG7053_7_Communications","门磁模块2通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]