{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":69,"n_cols":76,"rows_kept":69,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.1.54.1","HG7053_1_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.1","HG7053_1_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.1","HG7053_1_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.1","HG7053_1_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.1","HG7053_1_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.1","HG7053_1_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.1","HG7053_1_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.1","HG7053_1_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.1","HG7053_1_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.1","HG7053_1_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.1","HG7053_1_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.1","HG7053_1_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.1","HG7053_1_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.1","HG7053_1_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.1","HG7053_1_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.1","HG7053_1_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.1","HG7053_1_Communications","通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.2","HG7053_2_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.2","HG7053_2_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.2","HG7053_2_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.2","HG7053_2_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.2","HG7053_2_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.2","HG7053_2_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.2","HG7053_2_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.2","HG7053_2_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.2","HG7053_2_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.2","HG7053_2_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.2","HG7053_2_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.2","HG7053_2_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.2","HG7053_2_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.2","HG7053_2_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.2","HG7053_2_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.2","HG7053_2_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.2","HG7053_2_Communications","通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.3","HG7053_3_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.3","HG7053_3_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.3","HG7053_3_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.3","HG7053_3_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.3","HG7053_3_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.3","HG7053_3_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.3","HG7053_3_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.3","HG7053_3_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.3","HG7053_3_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.3","HG7053_3_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.3","HG7053_3_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.3","HG7053_3_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.3","HG7053_3_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.3","HG7053_3_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.3","HG7053_3_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.3","HG7053_3_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.3","HG7053_3_Communications","通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.4","HG7053_4_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.4","HG7053_4_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.4","HG7053_4_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.4","HG7053_4_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.4","HG7053_4_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.4","HG7053_4_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.4","HG7053_4_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.4","HG7053_4_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.4","HG7053_4_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.4","HG7053_4_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.4","HG7053_4_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.4","HG7053_4_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.4","HG7053_4_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.4","HG7053_4_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.4","HG7053_4_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.4","HG7053_4_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.4","HG7053_4_Communications","通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]

{"sheet":"CSpreadSheetBackup","index":1,"n_rows":69,"n_cols":76,"rows_kept":69,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.1.54.1","HG7053_1_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.1","HG7053_1_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.1","HG7053_1_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.1","HG7053_1_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.1","HG7053_1_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.1","HG7053_1_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.1","HG7053_1_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.1","HG7053_1_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.1","HG7053_1_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.1","HG7053_1_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.1","HG7053_1_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.1","HG7053_1_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.1","HG7053_1_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.1","HG7053_1_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.1","HG7053_1_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.1","HG7053_1_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.1","HG7053_1_Communications","通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.2","HG7053_2_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.2","HG7053_2_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.2","HG7053_2_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.2","HG7053_2_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.2","HG7053_2_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.2","HG7053_2_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.2","HG7053_2_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.2","HG7053_2_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.2","HG7053_2_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.2","HG7053_2_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.2","HG7053_2_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.2","HG7053_2_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.2","HG7053_2_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.2","HG7053_2_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.2","HG7053_2_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.2","HG7053_2_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.2","HG7053_2_Communications","通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.3","HG7053_3_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.3","HG7053_3_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.3","HG7053_3_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.3","HG7053_3_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.3","HG7053_3_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.3","HG7053_3_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.3","HG7053_3_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.3","HG7053_3_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.3","HG7053_3_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.3","HG7053_3_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.3","HG7053_3_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.3","HG7053_3_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.3","HG7053_3_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.3","HG7053_3_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.3","HG7053_3_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.3","HG7053_3_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.3","HG7053_3_Communications","通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.4","HG7053_4_Di1","7053Di0","5","4","0","1","1","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.4","HG7053_4_Di2","7053Di1","5","4","0","1","1","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.4","HG7053_4_Di3","7053Di2","5","4","0","1","1","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.4","HG7053_4_Di4","7053Di3","5","4","0","1","1","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["5","5.1.54.4","HG7053_4_Di5","7053Di4","5","4","0","1","1","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["6","5.1.54.4","HG7053_4_Di6","7053Di5","5","4","0","1","1","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["7","5.1.54.4","HG7053_4_Di7","7053Di6","5","4","0","1","1","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["8","5.1.54.4","HG7053_4_Di8","7053Di7","5","4","0","1","1","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["9","5.1.54.4","HG7053_4_Di9","7053Di8","5","4","0","1","1","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["10","5.1.54.4","HG7053_4_Di10","7053Di9","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["11","5.1.54.4","HG7053_4_Di11","7053Di10","5","4","0","1","1","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["12","5.1.54.4","HG7053_4_Di12","7053Di11","5","4","0","1","1","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["13","5.1.54.4","HG7053_4_Di13","7053Di12","5","4","0","1","1","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.4","HG7053_4_Di14","7053Di13","5","4","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["15","5.1.54.4","HG7053_4_Di15","7053Di14","5","4","0","1","1","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["16","5.1.54.4","HG7053_4_Di16","7053Di15","5","4","0","1","1","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["1","5.1.54.4","HG7053_4_Communications","通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]