{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":114,"n_cols":76,"rows_kept":114,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","15.38.141.1","CPDU_1_Current","1号PDU 电流","1","2","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","15.38.141.1","CPDU_1_Volt","1号PDU 电压","1","2","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","15.38.141.1","CPDU_1_Temp1","1号PDU 温度1","1","2","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","15.38.141.1","CPDU_1_Humidity1","1号PDU 湿度1","1","2","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","15.38.141.1","CPDU_1_Temp2","1号PDU 温度2","1","2","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","15.38.141.1","CPDU_1_Humidity2","1号PDU 湿度2","1","2","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","15.38.141.1","CPDU_1_Temp3","1号PDU 温度3","1","2","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","15.38.141.1","CPDU_1_Humidity3","1号PDU 湿度3","1","2","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","15.38.141.1","CPDU_1_CurrentState","1号PDU 电流状态","1","2","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["10","15.38.141.1","CPDU_1_VoltState","1号PDU 电压状态","1","2","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["11","15.38.141.1","CPDU_1_Temp1State","1号PDU 温度1状态","1","2","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["12","15.38.141.1","CPDU_1_Humidity1State","1号PDU 湿度1状态","1","2","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["13","15.38.141.1","CPDU_1_Temp2State","1号PDU 温度2状态","1","2","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.1","CPDU_1_Humidity2State","1号PDU 湿度2状态","1","2","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.1","CPDU_1_Temp3State","1号PDU 温度3状态","1","2","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.1","CPDU_1_Humidity3State","1号PDU 湿度3状态","1","2","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.1","CPDU_1_SmokeState","1号PDU 烟雾状态","1","2","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,3,","报警,安装异常,"]
["1","15.38.141.1","CPDU_1_Communications","1号PDU通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","15.38.141.2","CPDU_2_Current","2号PDU 电流","1","2","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","15.38.141.2","CPDU_2_Volt","2号PDU 电压","1","2","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","15.38.141.2","CPDU_2_Temp1","2号PDU 温度1","1","2","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","15.38.141.2","CPDU_2_Humidity1","2号PDU 湿度1","1","2","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","15.38.141.2","CPDU_2_Temp2","2号PDU 温度2","1","2","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","15.38.141.2","CPDU_2_Humidity2","2号PDU 湿度2","1","2","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","15.38.141.2","CPDU_2_Temp3","2号PDU 温度3","1","2","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","15.38.141.2","CPDU_2_Humidity3","2号PDU 湿度3","1","2","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","15.38.141.2","CPDU_2_CurrentState","2号PDU 电流状态","1","2","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["10","15.38.141.2","CPDU_2_VoltState","2号PDU 电压状态","1","2","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["11","15.38.141.2","CPDU_2_Temp1State","2号PDU 温度1状态","1","2","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["12","15.38.141.2","CPDU_2_Humidity1State","2号PDU 湿度1状态","1","2","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["13","15.38.141.2","CPDU_2_Temp2State","2号PDU 温度2状态","1","2","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.2","CPDU_2_Humidity2State","2号PDU 湿度2状态","1","2","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.2","CPDU_2_Temp3State","2号PDU 温度3状态","1","2","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.2","CPDU_2_Humidity3State","2号PDU 湿度3状态","1","2","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.2","CPDU_2_SmokeState","2号PDU 烟雾状态","1","2","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,3,","报警,安装异常,"]
["1","15.38.141.2","CPDU_2_Communications","2号PDU通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","15.38.141.3","CPDU_3_Current","3号PDU 电流","1","2","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","15.38.141.3","CPDU_3_Volt","3号PDU 电压","1","2","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","15.38.141.3","CPDU_3_Temp1","3号PDU 温度1","1","2","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","15.38.141.3","CPDU_3_Humidity1","3号PDU 湿度1","1","2","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","15.38.141.3","CPDU_3_Temp2","3号PDU 温度2","1","2","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","15.38.141.3","CPDU_3_Humidity2","3号PDU 湿度2","1","2","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","15.38.141.3","CPDU_3_Temp3","3号PDU 温度3","1","2","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","15.38.141.3","CPDU_3_Humidity3","3号PDU 湿度3","1","2","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","15.38.141.3","CPDU_3_CurrentState","3号PDU 电流状态","1","2","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["10","15.38.141.3","CPDU_3_VoltState","3号PDU 电压状态","1","2","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["11","15.38.141.3","CPDU_3_Temp1State","3号PDU 温度1状态","1","2","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["12","15.38.141.3","CPDU_3_Humidity1State","3号PDU 湿度1状态","1","2","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["13","15.38.141.3","CPDU_3_Temp2State","3号PDU 温度2状态","1","2","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.3","CPDU_3_Humidity2State","3号PDU 湿度2状态","1","2","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.3","CPDU_3_Temp3State","3号PDU 温度3状态","1","2","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.3","CPDU_3_Humidity3State","3号PDU 湿度3状态","1","2","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.3","CPDU_3_SmokeState","3号PDU 烟雾状态","1","2","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,3,","报警,安装异常,"]
["1","15.38.141.3","CPDU_3_Communications","3号PDU通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","15.38.141.4","CPDU_4_Current","4号PDU 电流","1","2","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","15.38.141.4","CPDU_4_Volt","4号PDU 电压","1","2","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","15.38.141.4","CPDU_4_Temp1","4号PDU 温度1","1","2","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","15.38.141.4","CPDU_4_Humidity1","4号PDU 湿度1","1","2","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","15.38.141.4","CPDU_4_Temp2","4号PDU 温度2","1","2","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","15.38.141.4","CPDU_4_Humidity2","4号PDU 湿度2","1","2","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","15.38.141.4","CPDU_4_Temp3","4号PDU 温度3","1","2","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","15.38.141.4","CPDU_4_Humidity3","4号PDU 湿度3","1","2","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","15.38.141.4","CPDU_4_CurrentState","4号PDU 电流状态","1","2","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["10","15.38.141.4","CPDU_4_VoltState","4号PDU 电压状态","1","2","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["11","15.38.141.4","CPDU_4_Temp1State","4号PDU 温度1状态","1","2","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["12","15.38.141.4","CPDU_4_Humidity1State","4号PDU 湿度1状态","1","2","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["13","15.38.141.4","CPDU_4_Temp2State","4号PDU 温度2状态","1","2","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.4","CPDU_4_Humidity2State","4号PDU 湿度2状态","1","2","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.4","CPDU_4_Temp3State","4号PDU 温度3状态","1","2","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.4","CPDU_4_Humidity3State","4号PDU 湿度3状态","1","2","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.4","CPDU_4_SmokeState","4号PDU 烟雾状态","1","2","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,3,","报警,安装异常,"]
["1","15.38.141.4","CPDU_4_Communications","4号PDU通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","15.38.141.5","CPDU_5_Current","5号PDU 电流","1","2","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","15.38.141.5","CPDU_5_Volt","5号PDU 电压","1","2","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","15.38.141.5","CPDU_5_Temp1","5号PDU 温度1","1","2","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","15.38.141.5","CPDU_5_Humidity1","5号PDU 湿度1","1","2","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","15.38.141.5","CPDU_5_Temp2","5号PDU 温度2","1","2","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","15.38.141.5","CPDU_5_Humidity2","5号PDU 湿度2","1","2","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","15.38.141.5","CPDU_5_Temp3","5号PDU 温度3","1","2","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","15.38.141.5","CPDU_5_Humidity3","5号PDU 湿度3","1","2","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","15.38.141.5","CPDU_5_CurrentState","5号PDU 电流状态","1","2","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["10","15.38.141.5","CPDU_5_VoltState","5号PDU 电压状态","1","2","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["11","15.38.141.5","CPDU_5_Temp1State","5号PDU 温度1状态","1","2","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["12","15.38.141.5","CPDU_5_Humidity1State","5号PDU 湿度1状态","1","2","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["13","15.38.141.5","CPDU_5_Temp2State","5号PDU 温度2状态","1","2","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.5","CPDU_5_Humidity2State","5号PDU 湿度2状态","1","2","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.5","CPDU_5_Temp3State","5号PDU 温度3状态","1","2","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.5","CPDU_5_Humidity3State","5号PDU 湿度3状态","1","2","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.5","CPDU_5_SmokeState","5号PDU 烟雾状态","1","2","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,3,","报警,安装异常,"]
["1","15.38.141.5","CPDU_5_Communications","5号PDU通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
[]
["1","15.38.141.6","CPDU_6_Current","6号PDU 电流","1","2","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","15.38.141.6","CPDU_6_Volt","6号PDU 电压","1","2","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","15.38.141.6","CPDU_6_Temp1","6号PDU 温度1","1","2","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","15.38.141.6","CPDU_6_Humidity1","6号PDU 湿度1","1","2","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","15.38.141.6","CPDU_6_Temp2","6号PDU 温度2","1","2","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","15.38.141.6","CPDU_6_Humidity2","6号PDU 湿度2","1","2","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","15.38.141.6","CPDU_6_Temp3","6号PDU 温度3","1","2","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","15.38.141.6","CPDU_6_Humidity3","6号PDU 湿度3","1","2","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","15.38.141.6","CPDU_6_CurrentState","6号PDU 电流状态","1","2","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["10","15.38.141.6","CPDU_6_VoltState","6号PDU 电压状态","1","2","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,2,","下限报警,上限报警,"]
["11","15.38.141.6","CPDU_6_Temp1State","6号PDU 温度1状态","1","2","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["12","15.38.141.6","CPDU_6_Humidity1State","6号PDU 湿度1状态","1","2","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["13","15.38.141.6","CPDU_6_Temp2State","6号PDU 温度2状态","1","2","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.6","CPDU_6_Humidity2State","6号PDU 湿度2状态","1","2","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.6","CPDU_6_Temp3State","6号PDU 温度3状态","1","2","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["14","15.38.141.6","CPDU_6_Humidity3State","6号PDU 湿度3状态","1","2","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","3","1,2,3,","下限报警,上限报警,安装异常,"]
["15","15.38.141.6","CPDU_6_SmokeState","6号PDU 烟雾状态","1","2","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","0",null,null,"0","0","0",{"$nulls":10},"0","0","4","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","2","1,3,","报警,安装异常,"]
["1","15.38.141.6","CPDU_6_Communications","6号PDU通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]