{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":42,"n_cols":76,"rows_kept":42,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","4.19.37.1","iTrustAdapt_1_ACIPVoltA","1号UPS交流输入相电压A","1","0","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["2","4.19.37.1","iTrustAdapt_1_ACIPVoltB","1号UPS交流输入相电压B","1","0","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["3","4.19.37.1","iTrustAdapt_1_ACIPVoltC","1号UPS交流输入相电压C","1","0","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["4","4.19.37.1","iTrustAdapt_1_ACOPVoltA","1号UPS交流输出相电压A","1","0","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["5","4.19.37.1","iTrustAdapt_1_ACOPVoltB","1号UPS交流输出相电压B","1","0","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["6","4.19.37.1","iTrustAdapt_1_ACOPVoltC","1号UPS交流输出相电压C","1","0","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["7","4.19.37.1","iTrustAdapt_1_ACOPCurA","1号UPS交流输出相电流A","1","0","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["8","4.19.37.1","iTrustAdapt_1_ACOPCurB","1号UPS交流输出相电流B","1","0","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["9","4.19.37.1","iTrustAdapt_1_ACOPCurC","1号UPS交流输出相电流C","1","0","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["10","4.19.37.1","iTrustAdapt_1_DCIPVolt","1号UPS直流输入电压(电池正组)","1","0","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["11","4.19.37.1","iTrustAdapt_1_OPFrequency","1号UPS输出频率","1","0","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["12","4.19.37.1","iTrustAdapt_1_IPFrequency","1号UPS输入频率","1","0","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["13","4.19.37.1","iTrustAdapt_1_BypassVolt","1号UPS旁路电压","1","0","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["14","4.19.37.1","iTrustAdapt_1_BypassCur","1号UPS旁路电流","1","0","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["15","4.19.37.1","iTrustAdapt_1_ACActivePower","1号UPS交流输出有功功率","1","0","0","1","0","cmd-18","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["16","4.19.37.1","iTrustAdapt_1_ACAppPower","1号UPS交流输出视在功率","1","0","0","1","0","cmd-19","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kva","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["17","4.19.37.1","iTrustAdapt_1_ACOPLoadPre","1号UPS交流输出负载百分比","1","0","0","1","0","cmd-20","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["18","4.19.37.1","iTrustAdapt_1_PowerSupplyMode","1号UPS供电方式","1","0","0","1","0","cmd-21","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["19","4.19.37.1","iTrustAdapt_1_RecPowerSupply","1号UPS整流侧供电状态","1","0","0","1","0","cmd-23","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["20","4.19.37.1","iTrustAdapt_1_BatteryChargeStatus","1号UPS电池充电状态","1","0","0","1","0","cmd-24","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["21","4.19.37.1","iTrustAdapt_1_BatterySelfTestStatus","1号UPS电池自检状态","1","0","0","1","0","cmd-25","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["22","4.19.37.1","iTrustAdapt_1_BatterySelfTestAllowStatus","1号UPS电池自检允许状态","1","0","0","1","0","cmd-26","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["23","4.19.37.1","iTrustAdapt_1_BatteryVoltNotice","1号UPS电池电压预告警状态","1","0","0","1","0","cmd-27","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["24","4.19.37.1","iTrustAdapt_1_PoweredOn","1号UPS开机状态","1","0","0","1","0","cmd-29","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["25","4.19.37.1","iTrustAdapt_1_SyncStatus","1号UPS同步/不同步状态","1","0","0","1","0","cmd-30","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["26","4.19.37.1","iTrustAdapt_1_MainsStatus","1号UPS市电","1","0","0","1","0","cmd-31","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["27","4.19.37.1","iTrustAdapt_1_Rectifier","1号UPS整流器","1","0","0","1","0","cmd-32","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["28","4.19.37.1","iTrustAdapt_1_Inverter","1号UPS逆变器","1","0","0","1","0","cmd-33","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["29","4.19.37.1","iTrustAdapt_1_Bypass","1号UPS旁路","1","0","0","1","0","cmd-34","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["30","4.19.37.1","iTrustAdapt_1_BatteryVoltAbnor","1号UPS蓄电池电压异常","1","0","0","1","0","cmd-35","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["31","4.19.37.1","iTrustAdapt_1_HeatSinkTempOver","1号UPS散热器过温","1","0","0","1","0","cmd-38","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["32","4.19.37.1","iTrustAdapt_1_FanFailure","1号UPS风扇故障","1","0","0","1","0","cmd-39","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["33","4.19.37.1","iTrustAdapt_1_DefiZeroFault","1号UPS缺零故障","1","0","0","1","0","cmd-40","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["34","4.19.37.1","iTrustAdapt_1_AbBusbarVolt","1号UPS母线电压异常","1","0","0","1","0","cmd-41","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["35","4.19.37.1","iTrustAdapt_1_ChargerFailure","1号UPS充电器故障","1","0","0","1","0","cmd-42","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["36","4.19.37.1","iTrustAdapt_1_BatteryEOD","1号UPS电池EOD","1","0","0","1","0","cmd-43","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["37","4.19.37.1","iTrustAdapt_1_AuxPowerFailure","1号UPS辅助电源故障","1","0","0","1","0","cmd-44","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["38","4.19.37.1","iTrustAdapt_1_OPOverLoad","1号UPS输出过载","1","0","0","1","0","cmd-45","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["39","4.19.37.1","iTrustAdapt_1_OPShortCircuit","1号UPS输出短路","1","0","0","1","0","cmd-46","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["40","4.19.37.1","iTrustAdapt_1_TimeOutOverlaod","1号UPS过载超时","1","0","0","1","0","cmd-47","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]
["41","4.19.37.1","iTrustAdapt_1_CurrentFault","1号UPS均流故障","1","0","0","1","0","cmd-48","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","37",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","1","0","0","0","0","0","0","0","0"]