{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":63,"n_cols":76,"rows_kept":63,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","6.35.143.1","DME30001_RoomTemp","1号空调室内温度","1","0","0","1","0","cmd-1","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","6.35.143.1","DME30001_RoomHumidity","1号空调室内湿度","1","0","0","1","0","cmd-2","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","6.35.143.1","DME30001_TempBias","1号空调温度偏差","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","6.35.143.1","DME30001_HumidityBias","1号空调湿度偏差","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","6.35.143.1","DME30001_TempSetPoint","1号空调温度设定点","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","6.35.143.1","DME30001_HumiditySetPoint","1号空调湿度设定点","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","6.35.143.1","DME30001_AirCondition","1号空调空调状态","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","6.35.143.1","DME30001_FanStatus","1号空调风机状态","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","6.35.143.1","DME30001_CoolingStatus","1号空调制冷状态","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","6.35.143.1","DME30001_HeatingStatus","1号空调加热状态","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","6.35.143.1","DME30001_WetStatus","1号空调加湿状态","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","6.35.143.1","DME30001_DehumidificationStatus","1号空调除湿状态","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","6.35.143.1","DME30001_HighAlarm","1号空调高压","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["14","6.35.143.1","DME30001_LowAlarm","1号空调低压","1","0","0","1","0","cmd-24","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["15","6.35.143.1","DME30001_HighTempAlarm","1号空调高温","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["16","6.35.143.1","DME30001_LowTempAlarm","1号空调低温","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["17","6.35.143.1","DME30001_HighHumidityAlarm","1号空调高湿","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["18","6.35.143.1","DME30001_LowHumidityAlarm","1号空调低湿","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["19","6.35.143.1","DME30001_RemoteControl","1号空调遥控","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","0","0","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["20","6.35.143.1","DME30001_CommunicationFailureAlarm","1号空调通讯故障","1000","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]
[]
["21","6.35.143.2","DME30002_RoomTemp","2号空调室内温度","1","0","0","1","0","cmd-1","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","6.35.143.2","DME30002_RoomHumidity","2号空调室内湿度","1","0","0","1","0","cmd-2","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","6.35.143.2","DME30002_TempBias","2号空调温度偏差","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","6.35.143.2","DME30002_HumidityBias","2号空调湿度偏差","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","6.35.143.2","DME30002_TempSetPoint","2号空调温度设定点","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","6.35.143.2","DME30002_HumiditySetPoint","2号空调湿度设定点","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","6.35.143.2","DME30002_AirCondition","2号空调空调状态","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","6.35.143.2","DME30002_FanStatus","2号空调风机状态","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","6.35.143.2","DME30002_CoolingStatus","2号空调制冷状态","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","6.35.143.2","DME30002_HeatingStatus","2号空调加热状态","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","6.35.143.2","DME30002_WetStatus","2号空调加湿状态","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","6.35.143.2","DME30002_DehumidificationStatus","2号空调除湿状态","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","6.35.143.2","DME30002_HighAlarm","2号空调高压","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["34","6.35.143.2","DME30002_LowAlarm","2号空调低压","1","0","0","1","0","cmd-24","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["35","6.35.143.2","DME30002_HighTempAlarm","2号空调高温","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["36","6.35.143.2","DME30002_LowTempAlarm","2号空调低温","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["37","6.35.143.2","DME30002_HighHumidityAlarm","2号空调高湿","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["38","6.35.143.2","DME30002_LowHumidityAlarm","2号空调低湿","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["39","6.35.143.2","DME30002_RemoteControl","2号空调遥控","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","0","0","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","6.35.143.2","DME30002_CommunicationFailureAlarm","2号空调通讯故障","1000","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]
[]
["21","6.35.143.3","DME30003_RoomTemp","3号空调室内温度","1","0","0","1","0","cmd-1","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","6.35.143.3","DME30003_RoomHumidity","3号空调室内湿度","1","0","0","1","0","cmd-2","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","6.35.143.3","DME30003_TempBias","3号空调温度偏差","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","6.35.143.3","DME30003_HumidityBias","3号空调湿度偏差","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","6.35.143.3","DME30003_TempSetPoint","3号空调温度设定点","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","6.35.143.3","DME30003_HumiditySetPoint","3号空调湿度设定点","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","6.35.143.3","DME30003_AirCondition","3号空调空调状态","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","6.35.143.3","DME30003_FanStatus","3号空调风机状态","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","6.35.143.3","DME30003_CoolingStatus","3号空调制冷状态","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","6.35.143.3","DME30003_HeatingStatus","3号空调加热状态","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","6.35.143.3","DME30003_WetStatus","3号空调加湿状态","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","6.35.143.3","DME30003_DehumidificationStatus","3号空调除湿状态","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","6.35.143.3","DME30003_HighAlarm","3号空调高压","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["34","6.35.143.3","DME30003_LowAlarm","3号空调低压","1","0","0","1","0","cmd-24","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["35","6.35.143.3","DME30003_HighTempAlarm","3号空调高温","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["36","6.35.143.3","DME30003_LowTempAlarm","3号空调低温","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["37","6.35.143.3","DME30003_HighHumidityAlarm","3号空调高湿","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["38","6.35.143.3","DME30003_LowHumidityAlarm","3号空调低湿","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["39","6.35.143.3","DME30003_RemoteControl","3号空调遥控","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","0","0","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","6.35.143.3","DME30003_CommunicationFailureAlarm","3号空调通讯故障","1000","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]

{"sheet":"CSpreadSheetBackup","index":1,"n_rows":61,"n_cols":76,"rows_kept":61,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","6.35.143.1","DME30001_RoomTemp","1号空调室内温度","1","0","0","1","0","cmd-1","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","6.35.143.1","DME30001_RoomHumidity","1号空调室内湿度","1","0","0","1","0","cmd-2","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","6.35.143.1","DME30001_TempBias","1号空调温度偏差","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","6.35.143.1","DME30001_HumidityBias","1号空调湿度偏差","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","6.35.143.1","DME30001_TempSetPoint","1号空调温度设定点","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","6.35.143.1","DME30001_HumiditySetPoint","1号空调湿度设定点","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","6.35.143.1","DME30001_AirCondition","1号空调空调状态","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","6.35.143.1","DME30001_FanStatus","1号空调风机状态","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","6.35.143.1","DME30001_CoolingStatus","1号空调制冷状态","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","6.35.143.1","DME30001_HeatingStatus","1号空调加热状态","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","6.35.143.1","DME30001_WetStatus","1号空调加湿状态","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","6.35.143.1","DME30001_DehumidificationStatus","1号空调除湿状态","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","6.35.143.1","DME30001_HighAlarm","1号空调高压","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["14","6.35.143.1","DME30001_LowAlarm","1号空调低压","1","0","0","1","0","cmd-24","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["15","6.35.143.1","DME30001_HighTempAlarm","1号空调高温","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["16","6.35.143.1","DME30001_LowTempAlarm","1号空调低温","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["17","6.35.143.1","DME30001_HighHumidityAlarm","1号空调高湿","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["18","6.35.143.1","DME30001_LowHumidityAlarm","1号空调低湿","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30001_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["19","6.35.143.1","DME30001_RemoteControl","1号空调遥控","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","0","0","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["20","6.35.143.1","DME30001_CommunicationFailureAlarm","1号空调通讯故障","1000","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]
["21","6.35.143.2","DME30002_RoomTemp","2号空调室内温度","1","0","0","1","0","cmd-1","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","6.35.143.2","DME30002_RoomHumidity","2号空调室内湿度","1","0","0","1","0","cmd-2","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","6.35.143.2","DME30002_TempBias","2号空调温度偏差","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","6.35.143.2","DME30002_HumidityBias","2号空调湿度偏差","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","6.35.143.2","DME30002_TempSetPoint","2号空调温度设定点","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","6.35.143.2","DME30002_HumiditySetPoint","2号空调湿度设定点","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","6.35.143.2","DME30002_AirCondition","2号空调空调状态","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","6.35.143.2","DME30002_FanStatus","2号空调风机状态","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","6.35.143.2","DME30002_CoolingStatus","2号空调制冷状态","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","6.35.143.2","DME30002_HeatingStatus","2号空调加热状态","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","6.35.143.2","DME30002_WetStatus","2号空调加湿状态","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","6.35.143.2","DME30002_DehumidificationStatus","2号空调除湿状态","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","6.35.143.2","DME30002_HighAlarm","2号空调高压","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["34","6.35.143.2","DME30002_LowAlarm","2号空调低压","1","0","0","1","0","cmd-24","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["35","6.35.143.2","DME30002_HighTempAlarm","2号空调高温","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["36","6.35.143.2","DME30002_LowTempAlarm","2号空调低温","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["37","6.35.143.2","DME30002_HighHumidityAlarm","2号空调高湿","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["38","6.35.143.2","DME30002_LowHumidityAlarm","2号空调低湿","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["39","6.35.143.2","DME30002_RemoteControl","2号空调遥控","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","0","0","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","6.35.143.2","DME30002_CommunicationFailureAlarm","2号空调通讯故障","1000","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]
["21","6.35.143.3","DME30003_RoomTemp","3号空调室内温度","1","0","0","1","0","cmd-1","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","6.35.143.3","DME30003_RoomHumidity","3号空调室内湿度","1","0","0","1","0","cmd-2","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","6.35.143.3","DME30003_TempBias","3号空调温度偏差","1","0","0","1","0","cmd-8","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","6.35.143.3","DME30003_HumidityBias","3号空调湿度偏差","1","0","0","1","0","cmd-10","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","6.35.143.3","DME30003_TempSetPoint","3号空调温度设定点","1","0","0","1","0","cmd-7","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","6.35.143.3","DME30003_HumiditySetPoint","3号空调湿度设定点","1","0","0","1","0","cmd-9","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","0.1000000015","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","6.35.143.3","DME30003_AirCondition","3号空调空调状态","1","0","0","1","0","cmd-17","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","6.35.143.3","DME30003_FanStatus","3号空调风机状态","1","0","0","1","0","cmd-18","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","6.35.143.3","DME30003_CoolingStatus","3号空调制冷状态","1","0","0","1","0","cmd-19","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","6.35.143.3","DME30003_HeatingStatus","3号空调加热状态","1","0","0","1","0","cmd-20","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","6.35.143.3","DME30003_WetStatus","3号空调加湿状态","1","0","0","1","0","cmd-21","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","6.35.143.3","DME30003_DehumidificationStatus","3号空调除湿状态","1","0","0","1","0","cmd-22","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143","关","开","0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","6.35.143.3","DME30003_HighAlarm","3号空调高压","1","0","0","1","0","cmd-23","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["34","6.35.143.3","DME30003_LowAlarm","3号空调低压","1","0","0","1","0","cmd-24","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["35","6.35.143.3","DME30003_HighTempAlarm","3号空调高温","1","0","0","1","0","cmd-25","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["36","6.35.143.3","DME30003_LowTempAlarm","3号空调低温","1","0","0","1","0","cmd-26","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomTemp",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["37","6.35.143.3","DME30003_HighHumidityAlarm","3号空调高湿","1","0","0","1","0","cmd-27","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["38","6.35.143.3","DME30003_LowHumidityAlarm","3号空调低湿","1","0","0","1","0","cmd-28","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0","DME30002_RoomHumidity",{"$nulls":9},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["39","6.35.143.3","DME30003_RemoteControl","3号空调遥控","1","0","0","1","0","cmd-44","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","0","0","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","255","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","6.35.143.3","DME30003_CommunicationFailureAlarm","3号空调通讯故障","1000","0","0","1","0","cmd-34","type-1","0","60","720","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","143",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]