{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":38,"n_cols":76,"rows_kept":38,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","6.16.107.1","ENG_DATA_1_BMSonoff","1号空调系统状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","6.16.107.1","ENG_DATA_1_Compressor1","1号空调压缩机1状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","6.16.107.1","ENG_DATA_1_Compressor2","1号空调压缩机2状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","6.16.107.1","ENG_DATA_1_Cooling","1号空调制冷状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","6.16.107.1","ENG_DATA_1_Dehumidifier","1号空调除湿状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","6.16.107.1","ENG_DATA_1_DigitalHeatingAlarm","1号空调数字加热","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","6.16.107.1","ENG_DATA_1_CriticalAlarm","1号空调临界报警","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","6.16.107.1","ENG_DATA_1_Heat","1号空调加热状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","6.16.107.1","ENG_DATA_1_Heater1Status","1号空调加热器1状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","6.16.107.1","ENG_DATA_1_Heater2Status","1号空调加热器2状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","6.16.107.1","ENG_DATA_1_Humidifier","1号空调加湿状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","6.16.107.1","ENG_DATA_1_HighCurrentAlarm","1号空调高电流报警","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","6.16.107.1","ENG_DATA_1_Fan","1号空调风机状态","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["14","6.16.107.1","ENG_DATA_1_AirLossAlarm","1号空调空气丢失警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["15","6.16.107.1","ENG_DATA_1_FilterBlockAlarm","1号空调过滤网阻塞警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["16","6.16.107.1","ENG_DATA_1_HighTempAlarm","1号空调高湿警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["17","6.16.107.1","ENG_DATA_1_LowTempAlarm","1号空调高温警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["18","6.16.107.1","ENG_DATA_1_HighPressureCompressor1","1号空调压缩机1高压警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["19","6.16.107.1","ENG_DATA_1_HighPressureCompressor2","1号空调压缩机2高压警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["20","6.16.107.1","ENG_DATA_1_HightHumAlarm","1号空调低湿警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["21","6.16.107.1","ENG_DATA_1_LowHumAlarm","1号空调低温警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","6.16.107.1","ENG_DATA_1_LowPressureCompressor1","1号空调压缩机1低压警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","6.16.107.1","ENG_DATA_1_LowPressureCompressor2","1号空调压缩机2低压警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","6.16.107.1","ENG_DATA_1_LeakAlarm","1号空调漏水警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","6.16.107.1","ENG_DATA_1_DrainAlarm","1号空调漏油警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","6.16.107.1","ENG_DATA_1_ChilledWaterTemp","1号空调冷冻水高温警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","6.16.107.1","ENG_DATA_1_LackWaterAlarm","1号空调缺水警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","6.16.107.1","ENG_DATA_1_Com1StopByAlarm","1号空调压缩机1故障停止运行警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","6.16.107.1","ENG_DATA_1_Com2StopByAlarm","1号空调压缩机2故障停止运行警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","6.16.107.1","ENG_DATA_1_PressProbe1FailedAlarm","1号空调压力探针1探测失败警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","6.16.107.1","ENG_DATA_1_PressProbe2FailedAlarm","1号空调压力探针2探测失败警报","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","6.16.107.1","ENG_DATA_1_ReturnAirTemp","1号空调回风湿度","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","6.16.107.1","ENG_DATA_1_SupplyAirTemp","1号空调回风温度","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["34","6.16.107.1","ENG_DATA_1_HumSetPoint","1号空调湿度设定点","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["35","6.16.107.1","ENG_DATA_1_TempSetPoint","1号空调温度设定点","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["36","6.16.107.1","ENG_DATA_1_WaterOutTemp","1号空调排水温度","4","2","1","4","109",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["37","6.16.107.1","ENG_DATA_1_1_Communications","1号空调通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","107",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断线报警,"]