{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":113,"n_cols":76,"rows_kept":113,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","6.8.96.1","Air1_SystemOn","System On","4","2","1","1","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["2","6.8.96.1","Air1_Compressor_1","Compressor 1","4","2","1","1","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["3","6.8.96.1","Air1_Compressor_2","Compressor 2","4","2","1","1","4",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["4","6.8.96.1","Air1_Compressor_3","Compressor 3","4","2","1","1","5",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["5","6.8.96.1","Air1_Compressor_4","Compressor 4","4","2","1","1","6",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["6","6.8.96.1","Air1_El_Heater1","El. Heater 1","4","2","1","1","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["7","6.8.96.1","Air1_El_Heater2","El. Heater 2","4","2","1","1","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["8","6.8.96.1","Air1_Dehumidification","Dehumidification","4","2","1","1","11",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["9","6.8.96.1","Air1_Humidification","Humidification","4","2","1","1","12",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["10","6.8.96.1","Air1_HighRoomTemperatureAlarm","High Room Temperature","4","2","1","1","22",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["11","6.8.96.1","Air1_LowRoomTemperatureAlarm","Low Room Temperature","4","2","1","1","23",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["12","6.8.96.1","Air1_HighRoomHumidityAlarm","High Room Humidity","4","2","1","1","24",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["13","6.8.96.1","Air1_LowRoomHumidityAlarm","Low Room Humidity","4","2","1","1","25",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["14","6.8.96.1","Air1_CloggedFilterAlarm","Clogged Filter","4","2","1","1","27",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["15","6.8.96.1","Air1_LossofAir lowAlarm","Loss of Air1 Flow","4","2","1","1","29",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["16","6.8.96.1","Air1_HeaterOverheatingAlarm","Heater Overheating","4","2","1","1","30",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["17","6.8.96.1","Air1_Circuit1HighPressureAlarm","Circuit 1 High Pressure","4","2","1","1","31",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["18","6.8.96.1","Air1_Circuit2HighPressureAlarm","Circuit 2 High Pressure","4","2","1","1","32",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["19","6.8.96.1","Air1_Circuit1LowPressureAlarm","Circuit 1 Low Pressure","4","2","1","1","33",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["20","6.8.96.1","Air1_Circuit2LowPressureAlarm","Circuit 2 Low Pressure","4","2","1","1","34",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["21","6.8.96.1","Air1_Humidifier_WaterLossAlarm","Humidifier: Water Loss","4","2","1","1","42",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["22","6.8.96.1","Air1_HumidifierGeneral Alarm","Humidifier General","4","2","1","1","66",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["23","6.8.96.1","Air1_Unit onAlarm","Unit on","4","2","1","1","67",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air1_Alarm ,"]
["24","6.8.96.1","Air1_UnitON/OFFSwitch","Unit ON/OFF Switch","4","2","1","1","76",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air conditioning1 Unit1 Switch OFF ,"]
["25","6.8.96.1","Air1_RoomTemperature","Room Temperature","4","2","1","3","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["26","6.8.96.1","Air1_OutdoorTemperature","Outdoor Temperature","4","2","1","3","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["27","6.8.96.1","Air1_RoomRelativeHumidity","Room Relative Humidity","4","2","1","3","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["28","6.8.96.1","Air1_OutletChilledWaterTemperature","Outlet Chilled Water Temperature","4","2","1","3","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["29","6.8.96.2","Air2_SystemOn","System On","4","2","1","1","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["30","6.8.96.2","Air2_Compressor_1","Compressor 1","4","2","1","1","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["31","6.8.96.2","Air2_Compressor_2","Compressor 2","4","2","1","1","4",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["32","6.8.96.2","Air2_Compressor_3","Compressor 3","4","2","1","1","5",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["33","6.8.96.2","Air2_Compressor_4","Compressor 4","4","2","1","1","6",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["34","6.8.96.2","Air2_El_Heater1","El. Heater 1","4","2","1","1","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["35","6.8.96.2","Air2_El_Heater2","El. Heater 2","4","2","1","1","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["36","6.8.96.2","Air2_Dehumidification","Dehumidification","4","2","1","1","11",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["37","6.8.96.2","Air2_Humidification","Humidification","4","2","1","1","12",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["38","6.8.96.2","Air2_HighRoomTemperatureAlarm","High Room Temperature","4","2","1","1","22",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["39","6.8.96.2","Air2_LowRoomTemperatureAlarm","Low Room Temperature","4","2","1","1","23",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["40","6.8.96.2","Air2_HighRoomHumidityAlarm","High Room Humidity","4","2","1","1","24",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["41","6.8.96.2","Air2_LowRoomHumidityAlarm","Low Room Humidity","4","2","1","1","25",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["42","6.8.96.2","Air2_CloggedFilterAlarm","Clogged Filter","4","2","1","1","27",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["43","6.8.96.2","Air2_LossofAir lowAlarm","Loss of Air Flow","4","2","1","1","29",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["44","6.8.96.2","Air2_HeaterOverheatingAlarm","Heater Overheating","4","2","1","1","30",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["45","6.8.96.2","Air2_Circuit1HighPressureAlarm","Circuit 1 High Pressure","4","2","1","1","31",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["46","6.8.96.2","Air2_Circuit2HighPressureAlarm","Circuit 2 High Pressure","4","2","1","1","32",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["47","6.8.96.2","Air2_Circuit1LowPressureAlarm","Circuit 1 Low Pressure","4","2","1","1","33",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["48","6.8.96.2","Air2_Circuit2LowPressureAlarm","Circuit 2 Low Pressure","4","2","1","1","34",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["49","6.8.96.2","Air2_Humidifier_WaterLossAlarm","Humidifier: Water Loss","4","2","1","1","42",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["50","6.8.96.2","Air2_HumidifierGeneral Alarm","Humidifier General","4","2","1","1","66",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["51","6.8.96.2","Air2_Unit onAlarm","Unit on","4","2","1","1","67",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air2_Alarm ,"]
["52","6.8.96.2","Air2_UnitON/OFFSwitch","Unit ON/OFF Switch","4","2","1","1","76",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air conditioning2 Unit1 Switch OFF ,"]
["53","6.8.96.2","Air2_RoomTemperature","Room Temperature","4","2","1","3","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["54","6.8.96.2","Air2_OutdoorTemperature","Outdoor Temperature","4","2","1","3","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["55","6.8.96.2","Air2_RoomRelativeHumidity","Room Relative Humidity","4","2","1","3","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["56","6.8.96.2","Air2_OutletChilledWaterTemperature","Outlet Chilled Water Temperature","4","2","1","3","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["57","6.8.96.3","Air3_SystemOn","System On","4","2","1","1","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["58","6.8.96.3","Air3_Compressor_1","Compressor 1","4","2","1","1","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["59","6.8.96.3","Air3_Compressor_2","Compressor 2","4","2","1","1","4",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["60","6.8.96.3","Air3_Compressor_3","Compressor 3","4","2","1","1","5",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["61","6.8.96.3","Air3_Compressor_4","Compressor 4","4","2","1","1","6",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["62","6.8.96.3","Air3_El_Heater1","El. Heater 1","4","2","1","1","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["63","6.8.96.3","Air3_El_Heater2","El. Heater 2","4","2","1","1","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["64","6.8.96.3","Air3_Dehumidification","Dehumidification","4","2","1","1","11",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["65","6.8.96.3","Air3_Humidification","Humidification","4","2","1","1","12",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["66","6.8.96.3","Air3_HighRoomTemperatureAlarm","High Room Temperature","4","2","1","1","22",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["67","6.8.96.3","Air3_LowRoomTemperatureAlarm","Low Room Temperature","4","2","1","1","23",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["68","6.8.96.3","Air3_HighRoomHumidityAlarm","High Room Humidity","4","2","1","1","24",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["69","6.8.96.3","Air3_LowRoomHumidityAlarm","Low Room Humidity","4","2","1","1","25",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["70","6.8.96.3","Air3_CloggedFilterAlarm","Clogged Filter","4","2","1","1","27",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["71","6.8.96.3","Air3_LossofAir3 lowAlarm","Loss of Air3 Flow","4","2","1","1","29",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["72","6.8.96.3","Air3_HeaterOverheatingAlarm","Heater Overheating","4","2","1","1","30",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["73","6.8.96.3","Air3_Circuit1HighPressureAlarm","Circuit 1 High Pressure","4","2","1","1","31",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["74","6.8.96.3","Air3_Circuit2HighPressureAlarm","Circuit 2 High Pressure","4","2","1","1","32",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["75","6.8.96.3","Air3_Circuit1LowPressureAlarm","Circuit 1 Low Pressure","4","2","1","1","33",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["76","6.8.96.3","Air3_Circuit2LowPressureAlarm","Circuit 2 Low Pressure","4","2","1","1","34",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["77","6.8.96.3","Air3_Humidifier_WaterLossAlarm","Humidifier: Water Loss","4","2","1","1","42",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["78","6.8.96.3","Air3_HumidifierGeneral Alarm","Humidifier General","4","2","1","1","66",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["79","6.8.96.3","Air3_Unit onAlarm","Unit on","4","2","1","1","67",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air3_Alarm ,"]
["80","6.8.96.3","Air3_UnitON/OFFSwitch","Unit ON/OFF Switch","4","2","1","1","76",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air conditioning3 Unit1 Switch OFF ,"]
["81","6.8.96.3","Air3_RoomTemperature","Room Temperature","4","2","1","3","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["82","6.8.96.3","Air3_OutdoorTemperature","Outdoor Temperature","4","2","1","3","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["83","6.8.96.3","Air3_RoomRelativeHumidity","Room Relative Humidity","4","2","1","3","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["84","6.8.96.3","Air3_OutletChilledWaterTemperature","Outlet Chilled Water Temperature","4","2","1","3","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["85","6.8.96.4","Air4_SystemOn","System On","4","2","1","1","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["86","6.8.96.4","Air4_Compressor_1","Compressor 1","4","2","1","1","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["87","6.8.96.4","Air4_Compressor_2","Compressor 2","4","2","1","1","4",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["88","6.8.96.4","Air4_Compressor_3","Compressor 3","4","2","1","1","5",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["89","6.8.96.4","Air4_Compressor_4","Compressor 4","4","2","1","1","6",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["90","6.8.96.4","Air4_El_Heater1","El. Heater 1","4","2","1","1","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["91","6.8.96.4","Air4_El_Heater2","El. Heater 2","4","2","1","1","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["92","6.8.96.4","Air4_Dehumidification","Dehumidification","4","2","1","1","11",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["93","6.8.96.4","Air4_Humidification","Humidification","4","2","1","1","12",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["94","6.8.96.4","Air4_HighRoomTemperatureAlarm","High Room Temperature","4","2","1","1","22",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["95","6.8.96.4","Air4_LowRoomTemperatureAlarm","Low Room Temperature","4","2","1","1","23",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["96","6.8.96.4","Air4_HighRoomHumidityAlarm","High Room Humidity","4","2","1","1","24",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["97","6.8.96.4","Air4_LowRoomHumidityAlarm","Low Room Humidity","4","2","1","1","25",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["98","6.8.96.4","Air4_CloggedFilterAlarm","Clogged Filter","4","2","1","1","27",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["99","6.8.96.4","Air4_LossofAir4 lowAlarm","Loss of Air4 Flow","4","2","1","1","29",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["100","6.8.96.4","Air4_HeaterOverheatingAlarm","Heater Overheating","4","2","1","1","30",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["101","6.8.96.4","Air4_Circuit1HighPressureAlarm","Circuit 1 High Pressure","4","2","1","1","31",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["102","6.8.96.4","Air4_Circuit2HighPressureAlarm","Circuit 2 High Pressure","4","2","1","1","32",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["103","6.8.96.4","Air4_Circuit1LowPressureAlarm","Circuit 1 Low Pressure","4","2","1","1","33",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["104","6.8.96.4","Air4_Circuit2LowPressureAlarm","Circuit 2 Low Pressure","4","2","1","1","34",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["105","6.8.96.4","Air4_Humidifier_WaterLossAlarm","Humidifier: Water Loss","4","2","1","1","42",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["106","6.8.96.4","Air4_HumidifierGeneral Alarm","Humidifier General","4","2","1","1","66",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["107","6.8.96.4","Air4_Unit onAlarm","Unit on","4","2","1","1","67",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air4_Alarm ,"]
["108","6.8.96.4","Air4_UnitON/OFFSwitch","Unit ON/OFF Switch","4","2","1","1","76",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","Air conditioning4 Unit1 Switch OFF ,"]
["109","6.8.96.4","Air4_RoomTemperature","Room Temperature","4","2","1","3","2",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["110","6.8.96.4","Air4_OutdoorTemperature","Outdoor Temperature","4","2","1","3","3",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["111","6.8.96.4","Air4_RoomRelativeHumidity","Room Relative Humidity","4","2","1","3","7",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["112","6.8.96.4","Air4_OutletChilledWaterTemperature","Outlet Chilled Water Temperature","4","2","1","3","8",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","0","0","1","1","0","0","0","0","96",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]