{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":131,"n_cols":76,"rows_kept":131,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","14.1.188.2","LTS_2_Source1_ABLineVoltage","2号LTS 源1 AB 线电压","4","2","1","3","1000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","14.1.188.2","LTS_2_Source1_BCLineVoltage","2号LTS 源1 BC 线电压","4","2","1","3","1001",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","14.1.188.2","LTS_2_Source1_CALineVoltage","2号LTS 源1 CA 线电压","4","2","1","3","1002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","14.1.188.2","LTS_2_Source1_AphaseCurrent","2号LTS 源1 A 相电流","4","2","1","3","1003",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","14.1.188.2","LTS_2_Source1_BphaseCurrent","2号LTS 源1 B 相电流","4","2","1","3","1004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","14.1.188.2","LTS_2_Source1_CphaseCurrent","2号LTS 源1 C 相电流","4","2","1","3","1005",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","14.1.188.2","LTS_2_Source1_Frequency","2号LTS 源1 频率","4","2","1","3","1006",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","14.1.188.2","LTS_2_Source2_ABLineVoltage","2号LTS 源2 AB 线电压","4","2","1","3","1007",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","14.1.188.2","LTS_2_Source2_BCLineVoltage","2号LTS 源2 BC 线电压","4","2","1","3","1008",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","14.1.188.2","LTS_2_Source2_CALineVoltage","2号LTS 源2 CA 线电压","4","2","1","3","1009",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","14.1.188.2","LTS_2_Source2_AphaseCurrent","2号LTS 源2 A 相电流","4","2","1","3","1010",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","14.1.188.2","LTS_2_Source2_BphaseCurrent","2号LTS 源2 B 相电流","4","2","1","3","1011",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","14.1.188.2","LTS_2_Source2_CphaseCurrent","2号LTS 源2 C 相电流","4","2","1","3","1012",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["14","14.1.188.2","LTS_2_Source2_Frequency","2号LTS 源2 频率","4","2","1","3","1013",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["15","14.1.188.2","LTS_2_ABLineVoltageOutput","2号LTS 输出AB 线电压","4","2","1","3","1015",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["16","14.1.188.2","LTS_2_BCLineVoltageOutput","2号LTS 输出BC 线电压","4","2","1","3","1016",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["17","14.1.188.2","LTS_2_CALineVoltageOutput","2号LTS 输出CA 线电压","4","2","1","3","1017",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["18","14.1.188.2","LTS_2_AphaseCurrentOutput","2号LTS 输出A 相电流","4","2","1","3","1018",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","3","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["19","14.1.188.2","LTS_2_BphaseCurrentOutput","2号LTS 输出B 相电流","4","2","1","3","1019",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["20","14.1.188.2","LTS_2_CphaseCurrentOutput","2号LTS 输出C 相电流","4","2","1","3","1020",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["21","14.1.188.2","LTS_2_FrequencyOutput","2号LTS 输出频率","4","2","1","3","1021",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","14.1.188.2","LTS_2_AphasePercentageLoad","2号LTS A 相负载百分比","4","2","1","3","1022",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","14.1.188.2","LTS_2_BphasePercentageLoad","2号LTS B 相负载百分比","4","2","1","3","1023",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","14.1.188.2","LTS_2_CphasePercentageLoad","2号LTS C 相负载百分比","4","2","1","3","1024",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","14.1.188.2","LTS_2_TotalApparentPower","2号LTS 总视在功率","4","2","1","3","1025",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","14.1.188.2","LTS_2_TotalActivePower","2号LTS 总有功功率","4","2","1","3","1026",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","14.1.188.2","LTS_2_ZeroSequenceCurrent","2号LTS 零序电流","4","2","1","3","1030",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","14.1.188.2","LTS_2_CurrentBranch1","2号LTS 支路1 电流","4","2","1","3","1180",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","14.1.188.2","LTS_2_CurrentBranch2","2号LTS 支路2 电流","4","2","1","3","1181",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","14.1.188.2","LTS_2_CurrentBranch3","2号LTS 支路3 电流","4","2","1","3","1182",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","14.1.188.2","LTS_2_CurrentBranch4","2号LTS 支路4 电流","4","2","1","3","1183",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","14.1.188.2","LTS_2_CurrentBranch5","2号LTS 支路5 电流","4","2","1","3","1184",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","14.1.188.2","LTS_2_CurrentBranch6","2号LTS 支路6 电流","4","2","1","3","1185",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["34","14.1.188.2","LTS_2_CurrentBranch7","2号LTS 支路7 电流","4","2","1","3","1186",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["35","14.1.188.2","LTS_2_CurrentBranch8","2号LTS 支路8 电流","4","2","1","3","1187",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["36","14.1.188.2","LTS_2_CurrentBranch9","2号LTS 支路9 电流","4","2","1","3","1188",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["37","14.1.188.2","LTS_2_CurrentBranch10","2号LTS 支路10 电流","4","2","1","3","1189",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["38","14.1.188.2","LTS_2_CurrentBranch11","2号LTS 支路11 电流","4","2","1","3","1190",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["39","14.1.188.2","LTS_2_CurrentBranch12","2号LTS 支路12 电流","4","2","1","3","1191",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","14.1.188.2","LTS_2_CurrentBranch13","2号LTS 支路13 电流","4","2","1","3","1192",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["41","14.1.188.2","LTS_2_CurrentBranch14","2号LTS 支路14 电流","4","2","1","3","1193",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["42","14.1.188.2","LTS_2_CurrentBranch15","2号LTS 支路15 电流","4","2","1","3","1194",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["43","14.1.188.2","LTS_2_CurrentBranch16","2号LTS 支路16 电流","4","2","1","3","1195",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["44","14.1.188.2","LTS_2_CurrentBranch17","2号LTS 支路17 电流","4","2","1","3","1196",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["45","14.1.188.2","LTS_2_CurrentBranch18","2号LTS 支路18 电流","4","2","1","3","1197",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["46","14.1.188.2","LTS_2_CurrentBranch19","2号LTS 支路19 电流","4","2","1","3","1198",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["47","14.1.188.2","LTS_2_CurrentBranch20","2号LTS 支路20 电流","4","2","1","3","1199",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["48","14.1.188.2","LTS_2_CurrentBranch21","2号LTS 支路21 电流","4","2","1","3","1200",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["49","14.1.188.2","LTS_2_CurrentBranch22","2号LTS 支路22 电流","4","2","1","3","1201",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["50","14.1.188.2","LTS_2_CurrentBranch23","2号LTS 支路23 电流","4","2","1","3","1202",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["51","14.1.188.2","LTS_2_CurrentBranch24","2号LTS 支路24 电流","4","2","1","3","1203",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["52","14.1.188.2","LTS_2_CurrentBranch25","2号LTS 支路25 电流","4","2","1","3","1204",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["53","14.1.188.2","LTS_2_CurrentBranch26","2号LTS 支路26 电流","4","2","1","3","1205",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["54","14.1.188.2","LTS_2_CurrentBranch27","2号LTS 支路27 电流","4","2","1","3","1206",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["55","14.1.188.2","LTS_2_CurrentBranch28","2号LTS 支路28 电流","4","2","1","3","1207",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["56","14.1.188.2","LTS_2_CurrentBranch29","2号LTS 支路29 电流","4","2","1","3","1208",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["57","14.1.188.2","LTS_2_CurrentBranch30","2号LTS 支路30 电流","4","2","1","3","1209",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["58","14.1.188.2","LTS_2_CurrentBranch31","2号LTS 支路31 电流","4","2","1","3","1210",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["59","14.1.188.2","LTS_2_CurrentBranch32","2号LTS 支路32 电流","4","2","1","3","1211",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["60","14.1.188.2","LTS_2_CurrentBranch33","2号LTS 支路33 电流","4","2","1","3","1212",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["61","14.1.188.2","LTS_2_CurrentBranch34","2号LTS 支路34 电流","4","2","1","3","1213",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["62","14.1.188.2","LTS_2_CurrentBranch35","2号LTS 支路35 电流","4","2","1","3","1214",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["63","14.1.188.2","LTS_2_CurrentBranch36","2号LTS 支路36 电流","4","2","1","3","1215",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["64","14.1.188.2","LTS_2_CurrentBranch37","2号LTS 支路37 电流","4","2","1","3","1216",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["65","14.1.188.2","LTS_2_CurrentBranch38","2号LTS 支路38 电流","4","2","1","3","1217",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["66","14.1.188.2","LTS_2_CurrentBranch39","2号LTS 支路39 电流","4","2","1","3","1218",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["67","14.1.188.2","LTS_2_CurrentBranch40","2号LTS 支路40 电流","4","2","1","3","1219",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["1","14.1.188.2","LTS_2_Source1_ThyristorShorCircuitFault","2号LTS 源 1 晶闸管短路故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","18","188",null,null,"0","1","1",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["2","14.1.188.2","LTS_2_Source2_ThyristorShorCircuitFault","2号LTS 源 2 晶闸管短路故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","19","188",null,null,"0","2","2",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["3","14.1.188.2","LTS_2_Source1_OpenSCRFault","2号LTS 源 1 晶闸管开路故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","20","188",null,null,"0","3","3",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["4","14.1.188.2","LTS_2_Source2_OpenSCRFault","2号LTS 源 2 晶闸管开路故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","21","188",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["5","14.1.188.2","LTS_2_MainFanFault","2号LTS 主风扇故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","22","188",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["6","14.1.188.2","LTS_2_ControlModuleFault","2号LTS 控制模块故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","23","188",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["7","14.1.188.2","LTS_2_BoardAuxiliaryElectricalPowerFault","2号LTS 电气板辅助电源故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","24","188",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["8","14.1.188.2","LTS_2_AuxiliaryPowerSupplyBoardFault","2号LTS 辅助电源板故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","25","188",null,null,"0","8","8",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["9","14.1.188.2","LTS_2_Source1_AuxiliaryPowerACInputFault","2号LTS 辅助电源源 1 交流输入故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","26","188",null,null,"0","9","9",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["10","14.1.188.2","LTS_2_Source2_AuxiliaryPowerACInputFault","2号LTS 辅助电源源 2 交流输入故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","27","188",null,null,"0","10","10",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["11","14.1.188.2","LTS_2_ElectricalPanelsCommunicationFault","2号LTS 电气控制板通讯故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","28","188",null,null,"0","11","11",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["12","14.1.188.2","LTS_2_OutputVoltageDetectionModuleFault","2号LTS 输出电压检测模块故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","29","188",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["13","14.1.188.2","LTS_2_Source1_VoltageDetectionModuleFault","2号LTS 源 1 电压检测模块故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","30","188",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["14","14.1.188.2","LTS_2_Source2_VoltageDetectionModuleFault","2号LTS 源 2 电压检测模块故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","31","188",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["15","14.1.188.2","LTS_2_Source1_SCRDetectionModuleFault","2号LTS 源 1 晶闸管检测模块故障","4","2","1","3","1060",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","32","188",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["16","14.1.188.2","LTS_2_Source2_SCRDetectionModuleFault","2号LTS 源 2 晶闸管检测模块故障","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","17","188",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["17","14.1.188.2","LTS_2_Source1_CurrentDetectionModuleFault","2号LTS 源 1 电流检测模块故障","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","18","188",null,null,"0","1","1",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["18","14.1.188.2","LTS_2_Source2_CurrentDetectionModuleFault","2号LTS 源 2 电流检测模块故障","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","19","188",null,null,"0","2","2",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["19","14.1.188.2","LTS_2_Source1_DriveModuleFault","2号LTS 源 1 驱动模块故障","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","20","188",null,null,"0","3","3",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["20","14.1.188.2","LTS_2_Source2_DriveModuleFault","2号LTS 源 2 驱动模块故障","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","21","188",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["21","14.1.188.2","LTS_2_InternalCANBusCommunicationFault","2号LTS 内部 CAN 总线通讯故障","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","22","188",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["22","14.1.188.2","LTS_2_Source1_SwitchReleaseFault","2号LTS 源 1 开关(CB1)脱扣失败","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","24","188",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["23","14.1.188.2","LTS_2_Source2_SwitchReleaseFault","2号LTS 源 1 开关(CB2)脱扣失败","4","2","1","3","1061",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","25","188",null,null,"0","8","8",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["24","14.1.188.2","LTS_2_OverTemperatureRadiator","2号LTS 散热器过温","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","17","188",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["25","14.1.188.2","LTS_2_Source1_FastVoltage","2号LTS 源 1 快速欠压","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","20","188",null,null,"0","3","3",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["26","14.1.188.2","LTS_2_Source1_SlowVoltage","2号LTS 源 1 慢速欠压","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","21","188",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["27","14.1.188.2","LTS_2_Source1_Overvoltage","2号LTS 源 1 过压","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","22","188",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["28","14.1.188.2","LTS_2_Source1_FrequencyOfAbnormal","2号LTS 源 1 频率异常","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","23","188",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["29","14.1.188.2","LTS_2_Source1_Unusual","2号LTS 源 1 异常","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","24","188",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["30","14.1.188.2","LTS_2_Source1_FastVoltage","2号LTS 源 2 快速欠压","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","25","188",null,null,"0","8","8",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["31","14.1.188.2","LTS_2_Source1_SlowVoltage","2号LTS 源 2 慢速欠压","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","26","188",null,null,"0","9","9",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["32","14.1.188.2","LTS_2_Source2_Overvoltage","2号LTS 源 2 过压","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","27","188",null,null,"0","10","10",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["33","14.1.188.2","LTS_2_Source2_FrequencyOfAbnormal","2号LTS 源 2 频率异常","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","28","188",null,null,"0","11","11",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["34","14.1.188.2","LTS_2_Source2_Unusual","2号LTS 源 2 异常","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","29","188",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["35","14.1.188.2","LTS_2_Source1_Overcurrent","2号LTS 源 1 过流","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","30","188",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["36","14.1.188.2","LTS_2_Source2_Overcurrent","2号LTS 源 2 过流","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","31","188",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["37","14.1.188.2","LTS_2_Source1_PeakOverCurrent","2号LTS 源 1 峰值过流","4","2","1","3","1064",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","32","188",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["38","14.1.188.2","LTS_2_Source2_PeakOverCurrent","2号LTS 源 2 峰值过流","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","17","188",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["39","14.1.188.2","LTS_2_InputSourceIsNotSynchronized","2号LTS 输入源不同步","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","18","188",null,null,"0","1","1",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["40","14.1.188.2","LTS_2_STSAlternativeSourceOfPower","2号LTS STS 备选源供电","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","19","188",null,null,"0","2","2",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["41","14.1.188.2","LTS_2_AutomaticCutBackBan","2号LTS 自动回切禁止","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","20","188",null,null,"0","3","3",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["42","14.1.188.2","LTS_2_Source1_SwitchOff","2号LTS 源 1 开关(CB1)断开","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","21","188",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["43","14.1.188.2","LTS_2_Source2_SwitchOff","2号LTS 源 2 开关(CB2)断开","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","22","188",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["44","14.1.188.2","LTS_2_Source1_MaintenanceBypassPower","2号LTS 源 1 维修旁路供电(CB4 闭合)","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","23","188",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["45","14.1.188.2","LTS_2_Source2_MaintenanceBypassPower","2号LTS 源 2 维修旁路供电(CB5 闭合)","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","24","188",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["46","14.1.188.2","LTS_2_OutputSwitch_CB3Off","2号LTS 输出开关(CB3)断开","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","25","188",null,null,"0","8","8",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["47","14.1.188.2","LTS_2_OutputSwitch_CB3AOff","2号LTS 输出开关(CB3A)断开","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","26","188",null,null,"0","9","9",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["48","14.1.188.2","LTS_2_Source1_ReverseOrder","2号LTS 源 1 反序","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","27","188",null,null,"0","10","10",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["49","14.1.188.2","LTS_2_Source2_ReverseOrder","2号LTS 源 2 反序 ","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","28","188",null,null,"0","11","11",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["50","14.1.188.2","LTS_2_AgainstSwitching","2号LTS 禁止切换","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","29","188",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["51","14.1.188.2","LTS_2_OutputVoltage","2号LTS 输出欠压","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","30","188",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["52","14.1.188.2","LTS_2_DataOverThePointOfFault","2号LTS 故障点数据满","4","2","1","3","1065",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","31","188",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["53","14.1.188.2","LTS_2_TransformerOverTemperature","2号LTS 变压器过温","4","2","1","3","1066",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","29","188",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["54","14.1.188.2","LTS_2_EmergencyShutdown","2号LTS 紧急关机","4","2","1","3","1066",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","30","188",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["55","14.1.188.2","LTS_2_TransformersFanTrouble","2号LTS 变压器风机故障","4","2","1","3","1066",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","31","188",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["56","14.1.188.2","LTS_2_MaintenanceSwitchProtection","2号LTS 维修开关保护","4","2","1","3","1066",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","32","188",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["57","14.1.188.2","LTS_2_Source1_SwitchClosed","2号LTS 源 1 开关(CB1)闭合","4","2","1","3","1067",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","17","188",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["58","14.1.188.2","LTS_2_Source2_SwitchClosed","2号LTS 源 2 开关(CB2)闭合","4","2","1","3","1067",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","18","188",null,null,"0","1","1",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["59","14.1.188.2","LTS_2_Source1_MaintenanceBypassSwitchOff","2号LTS 源 1 维修旁路开关(CB4)断开","4","2","1","3","1067",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","19","188",null,null,"0","2","2",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["60","14.1.188.2","LTS_2_Source2_MaintenanceBypassSwitchOff","2号LTS 源 2 维修旁路开关(CB5)断开","4","2","1","3","1067",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","20","188",null,null,"0","3","3",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["61","14.1.188.2","LTS_2_OutputSwitch_CB3Closed","2号LTS 输出开关(CB3)闭合","4","2","1","3","1067",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","21","188",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["62","14.1.188.2","LTS_2_OutputSwitch_CB3AClosed","2号LTS 输出开关(CB3A)闭合","4","2","1","3","1067",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","22","188",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["63","14.1.188.2","LTS_2_Communications","2号LTS通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","188",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]