{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":26,"n_cols":76,"rows_kept":26,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["33","5.1.54.4","HG7055_Di0","7055_Di0","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","15","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["34","5.1.54.4","HG7055_Di1","7055_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","14","14",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["35","5.1.54.4","HG7055_Di2","7055_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","13","13",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["36","5.1.54.4","HG7055_Di3","7055_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","12","12",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["33","5.1.54.4","HG7055_Di4","7055_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","11","11",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["34","5.1.54.4","HG7055_Di5","7055_Di5","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","10","10",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["35","5.1.54.4","HG7055_Di6","7055_Di6","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","9","9",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["36","5.1.54.4","HG7055_Di7","7055_Di7","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["37","5.1.54.4","HG7055_Do0","静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","7","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do0","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","7","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["38","5.1.54.4","HG7055_Do1","7065Di6","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","6","6",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do1","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","6","6",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["39","5.1.54.4","HG7055_Do2","7065Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","5","5",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do2","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","5","5",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["40","5.1.54.4","HG7055_Do3","7065Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","4","4",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do3","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","4","4",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["41","5.1.54.4","HG7055_Do4","7065Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","3","3",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do4","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","3","3",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["38","5.1.54.4","HG7055_Do5","7065Di6","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","2","2",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do5","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","2","2",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["39","5.1.54.4","HG7055_Do6","7065Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","1","1",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do6","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","1","1",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["40","5.1.54.4","HG7055_Do7","7065Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["37","5.1.54.4","HG7055_Set_Do7","设置静音按钮","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","17","54",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0,","0"]
["1","5.1.54.1","HG7055_1_Communications","HG7065_1通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]

{"sheet":"CSpreadSheetBackup","index":1,"n_rows":7,"n_cols":76,"rows_kept":7,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["3","5.1.54.1","HG_DI1","1号机房空调1自启动","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","22","54",null,null,"0","7","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","关机,"]
["4","5.1.54.1","HG_DI2","1号机房空调2自启动","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","21","54",null,null,"0","6","6",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","关机,"]
["5","5.1.54.1","HG_DI3","1号机房电压异常告警","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","20","54",null,null,"0","5","5",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.2","HG_DI1","2号机房漏水","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","22","54",null,null,"0","7","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","漏水,"]
["4","5.1.54.2","HG_DI2","2号机房漏水断线","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","21","54",null,null,"0","6","6",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","断线,"]
["5","5.1.54.2","HG_DI3","2号机房电压异常告警","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","20","54",null,null,"0","5","5",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","0,","告警,"]