{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":196,"n_cols":76,"rows_kept":196,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.1.54.1","HG7060D_1_Di1","HG7060D_1_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","1","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.1","HG7060D_1_Di2","HG7060D_1_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","2","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.1","HG7060D_1_Di3","HG7060D_1_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","3","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.1","HG7060D_1_Di4","HG7060D_1_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","4","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.1","HG7060D_1_Do1","HG7060D_1_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","5","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_Do2","HG7060D_1_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","6","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_Do3","HG7060D_1_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","7","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_Do4","HG7060D_1_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","8","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_SetDo1","HG7060D_1_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","5","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_SetDo2","HG7060D_1_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","6","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_SetDo3","HG7060D_1_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","7","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.1","HG7060D_1_SetDo4","HG7060D_1_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","8","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["14","5.1.54.1","HG7060D_1_Communications","HG7060D_1_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.2","HG7060D_2_Di1","HG7060D_2_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","9","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.2","HG7060D_2_Di2","HG7060D_2_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","10","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.2","HG7060D_2_Di3","HG7060D_2_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","11","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.2","HG7060D_2_Di4","HG7060D_2_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","12","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.2","HG7060D_2_Do1","HG7060D_2_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","13","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.2","HG7060D_2_Do2","HG7060D_2_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","14","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.2","HG7060D_2_Do3","HG7060D_2_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","15","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.2","HG7060D_2_Do4","HG7060D_2_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","16","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.2","HG7060D_2_SetDo1","HG7060D_2_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","13","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.2","HG7060D_2_SetDo2","HG7060D_2_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","14","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.2","HG7060D_2_SetDo3","HG7060D_2_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","15","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.2","HG7060D_2_SetDo4","HG7060D_2_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","16","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.2","HG7060D_2_Communications","HG7060D_2_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.3","HG7060D_3_Di1","HG7060D_3_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","17","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.3","HG7060D_3_Di2","HG7060D_3_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","18","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.3","HG7060D_3_Di3","HG7060D_3_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","19","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.3","HG7060D_3_Di4","HG7060D_3_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","20","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.3","HG7060D_3_Do1","HG7060D_3_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","21","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.3","HG7060D_3_Do2","HG7060D_3_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","22","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.3","HG7060D_3_Do3","HG7060D_3_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","23","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.3","HG7060D_3_Do4","HG7060D_3_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","24","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.3","HG7060D_3_SetDo1","HG7060D_3_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","21","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.3","HG7060D_3_SetDo2","HG7060D_3_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","22","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.3","HG7060D_3_SetDo3","HG7060D_3_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","23","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.3","HG7060D_3_SetDo4","HG7060D_3_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","24","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.3","HG7060D_3_Communications","HG7060D_3_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.4","HG7060D_4_Di1","HG7060D_4_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","25","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.4","HG7060D_4_Di2","HG7060D_4_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","26","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.4","HG7060D_4_Di3","HG7060D_4_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","27","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.4","HG7060D_4_Di4","HG7060D_4_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","28","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.4","HG7060D_4_Do1","HG7060D_4_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","29","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.4","HG7060D_4_Do2","HG7060D_4_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","30","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.4","HG7060D_4_Do3","HG7060D_4_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","31","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.4","HG7060D_4_Do4","HG7060D_4_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","32","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.4","HG7060D_4_SetDo1","HG7060D_4_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","29","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.4","HG7060D_4_SetDo2","HG7060D_4_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","30","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.4","HG7060D_4_SetDo3","HG7060D_4_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","31","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.4","HG7060D_4_SetDo4","HG7060D_4_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","32","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.4","HG7060D_4_Communications","HG7060D_4_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.5","HG7060D_5_Di1","HG7060D_5_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","33","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.5","HG7060D_5_Di2","HG7060D_5_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","34","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.5","HG7060D_5_Di3","HG7060D_5_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","35","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.5","HG7060D_5_Di4","HG7060D_5_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","36","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.5","HG7060D_5_Do1","HG7060D_5_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","37","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.5","HG7060D_5_Do2","HG7060D_5_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","38","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.5","HG7060D_5_Do3","HG7060D_5_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","39","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.5","HG7060D_5_Do4","HG7060D_5_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","40","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.5","HG7060D_5_SetDo1","HG7060D_5_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","37","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.5","HG7060D_5_SetDo2","HG7060D_5_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","38","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.5","HG7060D_5_SetDo3","HG7060D_5_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","39","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.5","HG7060D_5_SetDo4","HG7060D_5_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","40","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.5","HG7060D_5_Communications","HG7060D_5_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.6","HG7060D_6_Di1","HG7060D_6_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","41","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.6","HG7060D_6_Di2","HG7060D_6_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","42","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.6","HG7060D_6_Di3","HG7060D_6_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","43","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.6","HG7060D_6_Di4","HG7060D_6_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","44","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.6","HG7060D_6_Do1","HG7060D_6_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","45","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.6","HG7060D_6_Do2","HG7060D_6_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","46","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.6","HG7060D_6_Do3","HG7060D_6_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","47","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.6","HG7060D_6_Do4","HG7060D_6_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","48","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.6","HG7060D_6_SetDo1","HG7060D_6_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","45","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.6","HG7060D_6_SetDo2","HG7060D_6_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","46","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.6","HG7060D_6_SetDo3","HG7060D_6_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","47","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.6","HG7060D_6_SetDo4","HG7060D_6_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","48","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.6","HG7060D_6_Communications","HG7060D_6_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.7","HG7060D_7_Di1","HG7060D_7_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","49","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.7","HG7060D_7_Di2","HG7060D_7_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","50","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.7","HG7060D_7_Di3","HG7060D_7_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","51","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.7","HG7060D_7_Di4","HG7060D_7_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","52","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.7","HG7060D_7_Do1","HG7060D_7_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","53","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.7","HG7060D_7_Do2","HG7060D_7_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","54","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.7","HG7060D_7_Do3","HG7060D_7_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","55","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.7","HG7060D_7_Do4","HG7060D_7_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","56","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.7","HG7060D_7_SetDo1","HG7060D_7_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","53","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.7","HG7060D_7_SetDo2","HG7060D_7_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","54","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.7","HG7060D_7_SetDo3","HG7060D_7_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","55","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.7","HG7060D_7_SetDo4","HG7060D_7_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","56","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.7","HG7060D_7_Communications","HG7060D_7_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.8","HG7060D_8_Di1","HG7060D_8_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","57","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.8","HG7060D_8_Di2","HG7060D_8_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","58","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.8","HG7060D_8_Di3","HG7060D_8_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","59","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.8","HG7060D_8_Di4","HG7060D_8_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","60","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.8","HG7060D_8_Do1","HG7060D_8_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","61","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.8","HG7060D_8_Do2","HG7060D_8_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","62","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.8","HG7060D_8_Do3","HG7060D_8_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","63","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.8","HG7060D_8_Do4","HG7060D_8_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","64","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.8","HG7060D_8_SetDo1","HG7060D_8_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","61","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.8","HG7060D_8_SetDo2","HG7060D_8_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","62","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.8","HG7060D_8_SetDo3","HG7060D_8_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","63","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.8","HG7060D_8_SetDo4","HG7060D_8_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","64","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.8","HG7060D_8_Communications","HG7060D_8_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.9","HG7060D_9_Di1","HG7060D_9_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","65","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.9","HG7060D_9_Di2","HG7060D_9_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","66","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.9","HG7060D_9_Di3","HG7060D_9_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","67","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.9","HG7060D_9_Di4","HG7060D_9_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","68","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.9","HG7060D_9_Do1","HG7060D_9_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","69","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.9","HG7060D_9_Do2","HG7060D_9_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","70","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.9","HG7060D_9_Do3","HG7060D_9_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","71","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.9","HG7060D_9_Do4","HG7060D_9_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","72","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.9","HG7060D_9_SetDo1","HG7060D_9_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","69","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.9","HG7060D_9_SetDo2","HG7060D_9_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","70","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.9","HG7060D_9_SetDo3","HG7060D_9_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","71","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.9","HG7060D_9_SetDo4","HG7060D_9_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","72","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.9","HG7060D_9_Communications","HG7060D_9_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.10","HG7060D_10_Di1","HG7060D_10_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","73","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.10","HG7060D_10_Di2","HG7060D_10_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","74","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.10","HG7060D_10_Di3","HG7060D_10_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","75","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.10","HG7060D_10_Di4","HG7060D_10_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","76","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.10","HG7060D_10_Do1","HG7060D_10_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","77","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.10","HG7060D_10_Do2","HG7060D_10_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","78","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.10","HG7060D_10_Do3","HG7060D_10_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","79","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.10","HG7060D_10_Do4","HG7060D_10_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","80","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.10","HG7060D_10_SetDo1","HG7060D_10_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","77","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.10","HG7060D_10_SetDo2","HG7060D_10_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","78","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.10","HG7060D_10_SetDo3","HG7060D_10_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","79","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.10","HG7060D_10_SetDo4","HG7060D_10_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","80","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.10","HG7060D_10_Communications","HG7060D_10_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.11","HG7060D_11_Di1","HG7060D_11_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","81","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.11","HG7060D_11_Di2","HG7060D_11_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","82","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.11","HG7060D_11_Di3","HG7060D_11_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","83","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.11","HG7060D_11_Di4","HG7060D_11_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","84","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.11","HG7060D_11_Do1","HG7060D_11_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","85","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.11","HG7060D_11_Do2","HG7060D_11_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","86","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.11","HG7060D_11_Do3","HG7060D_11_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","87","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.11","HG7060D_11_Do4","HG7060D_11_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","88","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.11","HG7060D_11_SetDo1","HG7060D_11_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","85","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.11","HG7060D_11_SetDo2","HG7060D_11_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","86","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.11","HG7060D_11_SetDo3","HG7060D_11_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","87","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.11","HG7060D_11_SetDo4","HG7060D_11_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","88","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.11","HG7060D_11_Communications","HG7060D_11_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.12","HG7060D_12_Di1","HG7060D_12_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","89","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.12","HG7060D_12_Di2","HG7060D_12_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","90","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.12","HG7060D_12_Di3","HG7060D_12_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","91","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.12","HG7060D_12_Di4","HG7060D_12_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","92","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.12","HG7060D_12_Do1","HG7060D_12_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","93","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.12","HG7060D_12_Do2","HG7060D_12_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","94","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.12","HG7060D_12_Do3","HG7060D_12_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","95","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.12","HG7060D_12_Do4","HG7060D_12_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","96","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.12","HG7060D_12_SetDo1","HG7060D_12_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","93","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.12","HG7060D_12_SetDo2","HG7060D_12_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","94","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.12","HG7060D_12_SetDo3","HG7060D_12_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","95","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.12","HG7060D_12_SetDo4","HG7060D_12_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","96","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.12","HG7060D_12_Communications","HG7060D_12_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.13","HG7060D_13_Di1","HG7060D_13_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","97","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.13","HG7060D_13_Di2","HG7060D_13_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","98","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.13","HG7060D_13_Di3","HG7060D_13_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","99","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.13","HG7060D_13_Di4","HG7060D_13_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","100","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.13","HG7060D_13_Do1","HG7060D_13_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","101","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.13","HG7060D_13_Do2","HG7060D_13_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","102","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.13","HG7060D_13_Do3","HG7060D_13_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","103","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.13","HG7060D_13_Do4","HG7060D_13_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","104","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.13","HG7060D_13_SetDo1","HG7060D_13_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","101","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.13","HG7060D_13_SetDo2","HG7060D_13_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","102","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.13","HG7060D_13_SetDo3","HG7060D_13_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","103","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.13","HG7060D_13_SetDo4","HG7060D_13_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","104","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.13","HG7060D_13_Communications","HG7060D_13_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.14","HG7060D_14_Di1","HG7060D_14_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","105","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.14","HG7060D_14_Di2","HG7060D_14_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","106","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.14","HG7060D_14_Di3","HG7060D_14_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","107","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.14","HG7060D_14_Di4","HG7060D_14_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","108","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.14","HG7060D_14_Do1","HG7060D_14_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","109","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.14","HG7060D_14_Do2","HG7060D_14_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","110","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.14","HG7060D_14_Do3","HG7060D_14_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","111","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.14","HG7060D_14_Do4","HG7060D_14_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","112","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.14","HG7060D_14_SetDo1","HG7060D_14_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","109","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.14","HG7060D_14_SetDo2","HG7060D_14_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","110","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.14","HG7060D_14_SetDo3","HG7060D_14_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","111","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.14","HG7060D_14_SetDo4","HG7060D_14_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","112","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.14","HG7060D_14_Communications","HG7060D_14_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]
["1","5.1.54.15","HG7060D_15_Di1","HG7060D_15_Di1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","113","54",null,null,"0","15","15",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["2","5.1.54.15","HG7060D_15_Di2","HG7060D_15_Di2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","114","54",null,null,"0","14","14",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["3","5.1.54.15","HG7060D_15_Di3","HG7060D_15_Di3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","115","54",null,null,"0","13","13",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["4","5.1.54.15","HG7060D_15_Di4","HG7060D_15_Di4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","116","54",null,null,"0","12","12",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["14","5.1.54.15","HG7060D_15_Do1","HG7060D_15_Do1","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","117","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["15","5.1.54.15","HG7060D_15_Do2","HG7060D_15_Do2","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","118","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.15","HG7060D_15_Do3","HG7060D_15_Do3","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","119","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["16","5.1.54.15","HG7060D_15_Do4","HG7060D_15_Do4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","0","1","1","0","0","0","120","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.15","HG7060D_15_SetDo1","HG7060D_15_SetDo1","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","109","54",null,null,"0","7","7",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.15","HG7060D_15_SetDo2","HG7060D_15_SetDo2","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","110","54",null,null,"0","6","6",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.15","HG7060D_15_SetDo3","HG7060D_15_SetDo3","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","111","54",null,null,"0","5","5",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["4","5.1.54.15","HG7060D_15_SetDo4","HG7060D_15_SetDo4","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"120","1.0000000000","3","1","1","1","0","0","0","112","54",null,null,"0","4","4",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","",""]
["1","5.1.54.15","HG7060D_15_Communications","HG7060D_15_Communications","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","54",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]