{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":11,"n_cols":76,"rows_kept":11,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["119","5.1.54.2","HG_7063_DO1","新风机状态","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","15","54",null,null,"0","7","7",{"$nulls":10},"1","0","3","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["120","5.1.54.2","HG_7063_DO1_Set","新风机状态","5","1","0","1","1","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","1","1","0","0","0","15","54",null,null,"0","7","7",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["121","5.1.54.2","HG_7063_DO2","新风机状态2读","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","14","54",null,null,"0","6","6",{"$nulls":10},"1","0","3","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["122","5.1.54.2","HG_7063_DO2_Set","新风机状态2写","5","1","0","1","1","cmd-14","type-1","1","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","1","1","0","0","0","14","54",null,null,"0","6","6",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["123","5.1.54.2","HG_7063_DO3","新风机状态3读","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","13","54",null,null,"0","5","5",{"$nulls":10},"1","0","3","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","0,","告警,"]
["124","5.1.54.2","HG_7063_DO3_Set","新风机状态3写","5","1","0","1","1","cmd-14","type-1","2","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","1","1","0","0","0","13","54",null,null,"0","5","5",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["284","5.1.54.2","HG_7063_DO4","新风机状态4","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","20","54",null,null,"0","4","4",{"$nulls":10},"1","0","3","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["285","5.1.54.2","HG_7063_DO4_Set","新风机状态4设置","5","1","0","1","1","cmd-14","type-1","3","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","1","1","0","0","0","20","54",null,null,"0","4","4",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["286","5.1.54.2","HG_7063_DO5","新风机状态5","5","4","0","1","1","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","21","54",null,null,"0","3","3",{"$nulls":10},"1","0","3","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","0","0"]
["287","5.1.54.2","HG_7063_DO5_Set","新风机状态5设置","5","1","0","1","1","cmd-14","type-1","4","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","1","1","1","0","0","0","21","54",null,null,"0","3","3",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]