{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":25,"n_cols":76,"rows_kept":25,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.29.128.1","AKCP_Temp1","端口1温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.0","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","5.29.128.1","AKCP_Humidity1","端口1湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.0","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","5.29.128.1","AKCP_Temp2","端口2温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.1","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","5.29.128.1","AKCP_Humidity2","端口2湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.1","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","5.29.128.1","AKCP_Temp3","端口3温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.2","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","5.29.128.1","AKCP_Humidity3","端口3湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.2","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","5.29.128.1","AKCP_Temp4","端口4温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.3","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","5.29.128.1","AKCP_Humidity4","端口4湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.3","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","5.29.128.1","AKCP_Temp5","端口5温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.4","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","5.29.128.1","AKCP_Humidity5","端口5湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.4","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","5.29.128.1","AKCP_Temp6","端口6温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.5","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","5.29.128.1","AKCP_Humidity6","端口6湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.5","public","0","0","0","0","0","80","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","5.29.128.1","AKCP_Smoke1","烟感1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.8","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["14","5.29.128.1","AKCP_Smoke2","烟感2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.9","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["15","5.29.128.1","AKCP_Smoke3","烟感3","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.10","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["16","5.29.128.1","AKCP_Smoke4","烟感4","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.11","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["17","5.29.128.1","AKCP_Smoke5","烟感5","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.12","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["18","5.29.128.1","AKCP_Smoke6","烟感6","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.13","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["19","5.29.128.1","AKCP_AirFail1","空调故障1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.14","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["20","5.29.128.1","AKCP_AirFail2","空调故障2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.15","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["21","5.29.128.1","AKCP_Leak1","漏水检测1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.16","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["22","5.29.128.1","AKCP_Leak2","漏水检测2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.17","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["23","5.29.128.1","AKCP_Smoke11","烟雾11","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.18","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["24","5.29.128.1","AKCP_Smoke12","烟雾12","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.19","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]

{"sheet":"CSpreadSheetBackup","index":1,"n_rows":25,"n_cols":99,"rows_kept":25,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述","F77","F78","F79","F80","F81","F82","F83","F84","F85","F86","F87","F88","F89","F90","F91","F92","F93","F94","F95","F96","F97","F98","F99"]
["1","5.29.128.1","AKCP_Temp1","端口1温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.0","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","5.29.128.1","AKCP_Humidity1","端口1湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.0","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","5.29.128.1","AKCP_Temp2","端口2温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.1","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","5.29.128.1","AKCP_Humidity2","端口2湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.1","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","5.29.128.1","AKCP_Temp3","端口3温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.2","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","5.29.128.1","AKCP_Humidity3","端口3湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.2","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","5.29.128.1","AKCP_Temp4","端口4温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.3","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","5.29.128.1","AKCP_Humidity4","端口4湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.3","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","5.29.128.1","AKCP_Temp5","端口5温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.4","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","5.29.128.1","AKCP_Humidity5","端口5湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.4","public","0","0","0","0","0","80","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","5.29.128.1","AKCP_Temp6","端口6温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.16.1.3.5","public","0","0","0","0","0","30","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","5.29.128.1","AKCP_Humidity6","端口6湿度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.17.1.3.5","public","0","0","0","0","0","80","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","5.29.128.1","AKCP_Smoke1","烟感1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.8","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["14","5.29.128.1","AKCP_Smoke2","烟感2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.9","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["15","5.29.128.1","AKCP_Smoke3","烟感3","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.10","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["16","5.29.128.1","AKCP_Smoke4","烟感4","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.11","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["17","5.29.128.1","AKCP_Smoke5","烟感5","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.12","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["18","5.29.128.1","AKCP_Smoke6","烟感6","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.13","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["19","5.29.128.1","AKCP_AirFail1","空调故障1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.14","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["20","5.29.128.1","AKCP_AirFail2","空调故障2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.15","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["21","5.29.128.1","AKCP_Leak1","漏水检测1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.16","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["22","5.29.128.1","AKCP_Leak2","漏水检测2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.17","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["23","5.29.128.1","AKCP_Smoke11","烟雾11","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.18","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["24","5.29.128.1","AKCP_Smoke12","烟雾12","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.3854.1.2.2.1.18.1.3.19","public","0","0","0","0","0","0","2","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","128",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","报警,"]