{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":55,"n_cols":76,"rows_kept":55,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","7.33.132.1","TTK1_Area1_Line1_Leak","25楼线缆1漏水","4","2","1","3","1952",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","3","3","TTK1_Area1_Line1_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["2","7.33.132.1","TTK1_Area1_Line1_CableCut","25楼线缆1漏水断线","4","2","1","3","1952",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","7.33.132.1","TTK1_Area1_Line1_Leak_Pos","25楼线缆1漏水位置","4","2","1","3","1952",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
{"$rows_empty":15}
["19","7.33.132.1","TTK1_Area2_Line1_Leak","一楼第二环路A线","4","2","1","3","4000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","3","3","TTK1_Area2_Line1_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["20","7.33.132.1","TTK1_Area2_Line1_CableCut","TTK区域2线1断线","4","2","1","3","4000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["21","7.33.132.1","TTK1_Area2_Line1_Leak_Pos","TTK区域2线1漏水位置","4","2","1","3","4000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","7.33.132.1","TTK1_Area2_Line2_Leak","一楼第二环路B线","4","2","1","3","4000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","5","132",null,null,"0","11","11","TTK1_Area2_Line2_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["23","7.33.132.1","TTK1_Area2_Line2_CableCut","TTK区域2线2断线","4","2","1","3","4000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","4","132",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","7.33.132.1","TTK1_Area2_Line2_Leak_Pos","TTK区域2线2漏水位置","4","2","1","3","4000",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","6","132",null,null,"0","12","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","7.33.132.1","TTK1_Area2_Line3_Leak","一楼第二环路C线","4","2","1","3","4002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","3","3","TTK1_Area2_Line3_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["26","7.33.132.1","TTK1_Area2_Line3_CableCut","TTK区域2线3断线","4","2","1","3","4002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","7.33.132.1","TTK1_Area2_Line3_Leak_Pos","TTK区域2线3漏水位置","4","2","1","3","4002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","7.33.132.1","TTK1_Area2_Line4_Leak","一楼第二环路D线","4","2","1","3","4002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","5","132",null,null,"0","11","11","TTK1_Area2_Line4_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["29","7.33.132.1","TTK1_Area2_Line4_CableCut","TTK区域2线4断线","4","2","1","3","4002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","4","132",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","7.33.132.1","TTK1_Area2_Line4_Leak_Pos","TTK区域2线4漏水位置","4","2","1","3","4002",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","6","132",null,null,"0","12","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","7.33.132.1","TTK1_Area2_Line5_Leak","一楼第二环路E线","4","2","1","3","4004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","3","3","TTK1_Area2_Line5_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["32","7.33.132.1","TTK1_Area2_Line5_CableCut","TTK区域2线5断线","4","2","1","3","4004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","7.33.132.1","TTK1_Area2_Line5_Leak_Pos","TTK区域2线5漏水位置","4","2","1","3","4004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["34","7.33.132.1","TTK1_Area2_Line6_Leak","一楼第二环路F线","4","2","1","3","4004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","5","132",null,null,"0","11","11","TTK1_Area2_Line6_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["35","7.33.132.1","TTK1_Area2_Line6_CableCut","TTK区域2线6断线","4","2","1","3","4004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","4","132",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["36","7.33.132.1","TTK1_Area2_Line6_Leak_Pos","TTK区域2线6漏水位置","4","2","1","3","4004",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","6","132",null,null,"0","12","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["37","7.33.132.1","TTK1_Area2_Line7_Leak","一楼第二环路G线","4","2","1","3","4006",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","3","3","TTK1_Area2_Line7_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["38","7.33.132.1","TTK1_Area2_Line7_CableCut","TTK区域2线7断线","4","2","1","3","4006",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["39","7.33.132.1","TTK1_Area2_Line7_Leak_Pos","TTK区域2线7漏水位置","4","2","1","3","4006",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","7.33.132.1","TTK1_Area3_Line1_Leak","三楼第三环路A线","4","2","1","3","6048",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","11","11","TTK1_Area3_Line1_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["41","7.33.132.1","TTK1_Area3_Line1_CableCut","TTK区域3线1断线","4","2","1","3","6048",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["42","7.33.132.1","TTK1_Area3_Line1_Leak_Pos","TTK区域3线1漏水位置","4","2","1","3","6048",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","12","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["43","7.33.132.1","TTK1_Area3_Line2_Leak","三楼第三环路B线","4","2","1","3","6048",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","5","132",null,null,"0","3","3","TTK1_Area3_Line2_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["44","7.33.132.1","TTK1_Area3_Line2_CableCut","TTK区域3线2断线","4","2","1","3","6048",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","4","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["45","7.33.132.1","TTK1_Area3_Line2_Leak_Pos","TTK区域3线2漏水位置","4","2","1","3","6048",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","6","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["46","7.33.132.1","TTK1_Area3_Line3_Leak","三楼第三环路C线","4","2","1","3","6050",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","11","11","TTK1_Area3_Line3_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["47","7.33.132.1","TTK1_Area3_Line3_CableCut","TTK区域3线3断线","4","2","1","3","6050",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["48","7.33.132.1","TTK1_Area3_Line3_Leak_Pos","TTK区域3线3漏水位置","4","2","1","3","6050",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","12","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["49","7.33.132.1","TTK1_Area3_Line4_Leak","三楼第三环路D线","4","2","1","3","6050",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","5","132",null,null,"0","3","3","TTK1_Area3_Line4_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["50","7.33.132.1","TTK1_Area3_Line4_CableCut","TTK区域3线4断线","4","2","1","3","6050",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","4","132",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["51","7.33.132.1","TTK1_Area3_Line4_Leak_Pos","TTK区域3线4漏水位置","4","2","1","3","6050",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","6","132",null,null,"0","4","7",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["52","7.33.132.1","TTK1_Area3_Line5_Leak","三楼第三环路E线","4","2","1","3","6052",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","米","300","1.0000000000","3","0","0","0","0","0","0","2","132",null,null,"0","11","11","TTK1_Area3_Line5_Leak_Pos",{"$nulls":9},"0","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","0","1","1,","报警,"]
["53","7.33.132.1","TTK1_Area3_Line5_CableCut","TTK区域3线5断线","4","2","1","3","6052",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","1","132",null,null,"0","8","8",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["54","7.33.132.1","TTK1_Area3_Line5_Leak_Pos","TTK区域3线5漏水位置","4","2","1","3","6052",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","0","0","0","0","0","3","132",null,null,"0","12","15",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]