{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["变量dat文件"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":47,"n_cols":76,"rows_kept":47,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","5.34.135.1","MDF_Temp1","MDF温度1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.1","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["2","5.34.135.1","MDF_Temp2","MDF温度2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.2","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["3","5.34.135.1","MDF_Temp3","MDF温度3","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.3","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","5.34.135.1","UPS_Temp","UPS房温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.4","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","5.34.135.1","Air_Temp","空调房温度","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.5","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","5.34.135.1","Host_Smoke_Detector1","主机房1烟雾警报","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.6","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["7","5.34.135.1","Host_Smoke_Detector2","主机房2烟雾警报","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.7","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["8","5.34.135.1","Host_Smoke_Detector3","主机房3烟雾警报","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.7.8","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["9","5.34.135.1","UPS_Smoke_Detector","UPS房烟雾","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.1","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["10","5.34.135.1","Air_Smoke_Detector","空调房烟雾","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.2","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["11","5.34.135.1","UPS_Alarm1","主机房漏水","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.3","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["12","5.34.135.1","UPS_Alarm2","UPS房漏水","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.4","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["13","5.34.135.1","UPS_Alarm3","空调房漏水","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.5","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["14","5.34.135.1","UPS_Alarm4","空调2","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.6","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["15","5.34.135.1","UPS_Alarm5","空调1","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.7","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["16","5.34.135.1","UPS_Alarm6","UPS1电池状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.7.8","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","关闭,"]
["17","5.34.135.1","UPS_Alarm7","UPS1低电池","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.1","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["18","5.34.135.1","UPS_Alarm8","UPS1旁路","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.2","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","旁路,"]
["19","5.34.135.1","Air_Alarm1","UPS1故障","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.3","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["20","5.34.135.1","Air_Alarm2","UPS2电池状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.4","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","关闭,"]
["21","5.34.135.1","Host_Leak","UPS2低电池","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.5","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["22","5.34.135.1","UPS_Leak","UPS2旁路","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.6","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","旁路,"]
["23","5.34.135.1","Air_Leak","UPS2故障","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.7.7","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","1,","告警,"]
["24","5.34.135.1","MDF_Temp1_Status","MDF温度1传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.1","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["25","5.34.135.1","MDF_Temp2_Status","MDF温度2传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.2","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["26","5.34.135.1","MDF_Temp3_Status","MDF温度3传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.3","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["27","5.34.135.1","UPS_Temp_Status","UPS房温度传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.4","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["28","5.34.135.1","Air_Temp_Status","空调房温度传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.5","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["29","5.34.135.1","Host_Smoke_Detector1_Status","主机房烟感1传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.6","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["30","5.34.135.1","Host_Smoke_Detector2_Status","主机房烟感2传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.7","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["31","5.34.135.1","Host_Smoke_Detector3_Status","主机房烟感3传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.1.8.1.1.8.8","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["32","5.34.135.1","UPS_Smoke_Detector_Status","UPS房烟雾传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.1","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["33","5.34.135.1","Air_Smoke_Detector_Status","空调房烟雾传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.2","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","错误,"]
["34","5.34.135.1","UPS_Alarm1_Status","主机房漏水传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.3","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["35","5.34.135.1","UPS_Alarm2_Status","UPS房漏水传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.4","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["36","5.34.135.1","UPS_Alarm3_Status","空调房漏水传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.5","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["37","5.34.135.1","UPS_Alarm4_Status","空调2报警传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.6","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["38","5.34.135.1","UPS_Alarm5_Status","空调1报警传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.7","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["39","5.34.135.1","UPS_Alarm6_Status","UPS1传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.2.8.1.1.8.8","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","5.34.135.1","UPS_Alarm7_Status","UPS1低电池传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.1","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["41","5.34.135.1","UPS_Alarm8_Status","UPS1旁路传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.2","public","0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["42","5.34.135.1","Air_Alarm1_Status","UPS1故障传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.3","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["43","5.34.135.1","Air_Alarm2_Status","UPS2电池传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.4","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["44","5.34.135.1","Host_Leak_Status","UPS2低电池传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.5","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["45","5.34.135.1","UPS_Leak_Status","UPS2旁路传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.6","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]
["46","5.34.135.1","Air_Leak_Status","UPS2故障传感器状态","1","0","0","1","0",null,null,"0","30","60","1","1.3.6.1.4.1.8338.1.1.1.3.8.1.1.8.7","public","0","0","0","0","0","0","1","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","135",null,null,"0","0","0",{"$nulls":10},"0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","1","9,","断开,"]