{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":85,"n_cols":2,"rows_kept":85,"flags":["formulas_cached_only"]}
["1号UPS","电池条件"]
["1号UPS","电池状态"]
["1号UPS","电池充电量"]
["1号UPS","秒电池"]
["1号UPS","估计剩余分钟"]
["1号UPS","估计剩余电量"]
["1号UPS","电池电压"]
["1号UPS","电池电流"]
["1号UPS","温度"]
["1号UPS","电池级"]
["1号UPS","外部电池节数"]
["1号UPS","负电池电压"]
["1号UPS","负电池电流"]
["1号UPS","负蝙蝠温度"]
["1号UPS","负电池级"]
["1号UPS","输入线数"]
["1号UPS","输入频率1"]
["1号UPS","输入电压1"]
["1号UPS","输入电流1"]
["1号UPS","输入功率1"]
["1号UPS","输入频率2"]
["1号UPS","输入电压2"]
["1号UPS","输入电流2"]
["1号UPS","输入功率2"]
["1号UPS","输入频率3"]
["1号UPS","输入电压3"]
["1号UPS","输入电流3"]
["1号UPS","输入功率3"]
["1号UPS","输入电压12"]
["1号UPS","输入电压23"]
["1号UPS","输入电压31"]
["1号UPS","输出源"]
["1号UPS","输出频率"]
["1号UPS","输出线数"]
["1号UPS","输出电压1"]
["1号UPS","输出电流1"]
["1号UPS","输出功率1"]
["1号UPS","输出负载1"]
["1号UPS","输出电压2"]
["1号UPS","输出电流2"]
["1号UPS","输出功率2"]
["1号UPS","输出负载2"]
["1号UPS","输出电压3"]
["1号UPS","输出电流3"]
["1号UPS","输出功率3"]
["1号UPS","输出负载3"]
["1号UPS","输出电压12"]
["1号UPS","输出电压23"]
["1号UPS","输出电压31"]
["1号UPS","旁路频率"]
["1号UPS","旁路线数"]
["1号UPS","旁路电压1"]
["1号UPS","旁路电流1"]
["1号UPS","旁路功率1"]
["1号UPS","旁路电压2"]
["1号UPS","旁路电流2"]
["1号UPS","旁路功率2"]
["1号UPS","旁路电压3"]
["1号UPS","旁路电流3"]
["1号UPS","旁路功率3"]
["1号UPS","旁路电压12"]
["1号UPS","旁路电压23"]
["1号UPS","旁路电压31"]
["1号UPS","旁路STS温度"]
["1号UPS","温度报警"]
["1号UPS","输入故障报警"]
["1号UPS","输出故障报警"]
["1号UPS","过载报警"]
["1号UPS","旁路故障报警"]
["1号UPS","输出关闭报警"]
["1号UPS","UPS关机报警"]
["1号UPS","充电故障报警"]
["1号UPS","系统关闭报警"]
["1号UPS","风扇故障报警"]
["1号UPS","保险丝熔断报警"]
["1号UPS","一般故障报警"]
["1号UPS","电力等待报警"]
["1号UPS","待停机报警"]
["1号UPS","立即关机报警"]
["1号UPS","蜂鸣器状态"]
["1号UPS","经济模式"]
["1号UPS","逆变器故障报警"]
["1号UPS","紧急切断电源"]
["1号UPS","蜂鸣器状态"]
["1号UPS","蓄电池接地故障"]

{"sheet":"变量dat文件","index":1,"n_rows":82,"n_cols":76,"rows_kept":82,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","4.14.26.1","DeltaVF_1_BatteryCondition","1号UPS电池条件","1","0","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","2","1,2,","弱,替换"]
["2","4.14.26.1","DeltaVF_1_BatteryStatus","1号UPS电池状态","1","0","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","2","1,2,","低电压,无电压"]
["3","4.14.26.1","DeltaVF_1_BatteryCharge","1号UPS电池充电状态","1","0","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["4","4.14.26.1","DeltaVF_1_EstimatedMinutesRemaining","1号UPS估计剩余分钟","1","0","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Min","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["5","4.14.26.1","DeltaVF_1_EstimatedChargeRemaining","1号UPS估计剩余电量","1","0","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["6","4.14.26.1","DeltaVF_1_BatteryVoltage","1号UPS电池电压","1","0","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["7","4.14.26.1","DeltaVF_1_BatteryCurrent","1号UPS电池电流","1","0","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["8","4.14.26.1","DeltaVF_1_BatteryLevel","1号UPS电池电量","1","0","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["9","4.14.26.1","DeltaVF_1_ExternalBattPackNumber","1号UPS外部电池包数","1","0","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["10","4.14.26.1","DeltaVF_1_NegativeBatteryVoltage","1号UPS负电池电压","1","0","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["11","4.14.26.1","DeltaVF_1_NegativeBatteryCurrent","1号UPS负电池电流","1","0","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["12","4.14.26.1","DeltaVF_1_NegativeBatteryLevel","1号UPS负电池电量","1","0","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["13","4.14.26.1","DeltaVF_1_InputNumLines","1号UPS输入线数","1","0","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["14","4.14.26.1","DeltaVF_1_InputFrequency1","1号UPS输入频率1","1","0","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["15","4.14.26.1","DeltaVF_1_InputVoltage1","1号UPS输入电压1","1","0","0","1","0","cmd-18","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["16","4.14.26.1","DeltaVF_1_InputCurrent1","1号UPS输入电流1","1","0","0","1","0","cmd-19","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["17","4.14.26.1","DeltaVF_1_InputPower1","1号UPS输入功率1","1","0","0","1","0","cmd-20","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","99999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["18","4.14.26.1","DeltaVF_1_InputFrequency2","1号UPS输入频率2","1","0","0","1","0","cmd-21","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["19","4.14.26.1","DeltaVF_1_InputVoltage2","1号UPS输入电压2","1","0","0","1","0","cmd-22","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["20","4.14.26.1","DeltaVF_1_InputCurrent2","1号UPS输入电流2","1","0","0","1","0","cmd-23","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["21","4.14.26.1","DeltaVF_1_InputPower2","1号UPS输入功率2","1","0","0","1","0","cmd-24","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","99999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["22","4.14.26.1","DeltaVF_1_InputFrequency3","1号UPS输入频率3","1","0","0","1","0","cmd-25","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["23","4.14.26.1","DeltaVF_1_InputVoltage3","1号UPS输入电压3","1","0","0","1","0","cmd-26","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["24","4.14.26.1","DeltaVF_1_InputCurrent3","1号UPS输入电流3","1","0","0","1","0","cmd-27","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["25","4.14.26.1","DeltaVF_1_InputPower3","1号UPS输入功率3","1","0","0","1","0","cmd-28","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","99999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["26","4.14.26.1","DeltaVF_1_InputVoltage12","1号UPS输入电压12","1","0","0","1","0","cmd-29","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["27","4.14.26.1","DeltaVF_1_InputVoltage23","1号UPS输入电压23","1","0","0","1","0","cmd-30","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["28","4.14.26.1","DeltaVF_1_InputVoltage31","1号UPS输入电压31","1","0","0","1","0","cmd-31","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["29","4.14.26.1","DeltaVF_1_OutputSource","1号UPS输出源","1","0","0","1","0","cmd-32","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","5","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["30","4.14.26.1","DeltaVF_1_OutputFrequency","1号UPS输出频率","1","0","0","1","0","cmd-33","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["31","4.14.26.1","DeltaVF_1_OutputNumLines","1号UPS输出线数","1","0","0","1","0","cmd-34","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["32","4.14.26.1","DeltaVF_1_OutputVoltage1","1号UPS输出电压1","1","0","0","1","0","cmd-35","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["33","4.14.26.1","DeltaVF_1_OutputCurrent1","1号UPS输出电流1","1","0","0","1","0","cmd-36","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["34","4.14.26.1","DeltaVF_1_OutputPower1","1号UPS输出功率1","1","0","0","1","0","cmd-37","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["35","4.14.26.1","DeltaVF_1_OutputLoad1","1号UPS输出负载1","1","0","0","1","0","cmd-38","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["36","4.14.26.1","DeltaVF_1_OutputVoltage2","1号UPS输出电压2","1","0","0","1","0","cmd-39","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["37","4.14.26.1","DeltaVF_1_OutputCurrent2","1号UPS输出电流2","1","0","0","1","0","cmd-40","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["38","4.14.26.1","DeltaVF_1_OutputPower2","1号UPS输出功率2","1","0","0","1","0","cmd-41","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["39","4.14.26.1","DeltaVF_1_OutputLoad2","1号UPS输出负载2","1","0","0","1","0","cmd-42","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["40","4.14.26.1","DeltaVF_1_OutputVoltage3","1号UPS输出电压3","1","0","0","1","0","cmd-43","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["41","4.14.26.1","DeltaVF_1_OutputCurrent3","1号UPS输出电流3","1","0","0","1","0","cmd-44","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["42","4.14.26.1","DeltaVF_1_OutputPower3","1号UPS输出功率3","1","0","0","1","0","cmd-45","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["43","4.14.26.1","DeltaVF_1_OutputLoad3","1号UPS输出负载3","1","0","0","1","0","cmd-46","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["44","4.14.26.1","DeltaVF_1_OutputVoltage12","1号UPS输出电压12","1","0","0","1","0","cmd-47","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["45","4.14.26.1","DeltaVF_1_OutputVoltage23","1号UPS输出电压23","1","0","0","1","0","cmd-48","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["46","4.14.26.1","DeltaVF_1_OutputVoltage31","1号UPS输出电压31","1","0","0","1","0","cmd-49","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["47","4.14.26.1","DeltaVF_1_BypassFrequency","1号UPS旁路频率","1","0","0","1","0","cmd-50","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["48","4.14.26.1","DeltaVF_1_BypassNumLines","1号UPS旁路线数","1","0","0","1","0","cmd-51","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["49","4.14.26.1","DeltaVF_1_BypassVoltage1","1号UPS旁路电压1","1","0","0","1","0","cmd-52","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["50","4.14.26.1","DeltaVF_1_BypassCurrent1","1号UPS旁路电流1","1","0","0","1","0","cmd-53","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["51","4.14.26.1","DeltaVF_1_BypassPower1","1号UPS旁路功率1","1","0","0","1","0","cmd-54","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["52","4.14.26.1","DeltaVF_1_BypassVoltage2","1号UPS旁路电压2","1","0","0","1","0","cmd-55","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["53","4.14.26.1","DeltaVF_1_BypassCurrent2","1号UPS旁路电流2","1","0","0","1","0","cmd-56","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["54","4.14.26.1","DeltaVF_1_BypassPower2","1号UPS旁路功率2","1","0","0","1","0","cmd-57","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["55","4.14.26.1","DeltaVF_1_BypassVoltage3","1号UPS旁路电压3","1","0","0","1","0","cmd-58","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["56","4.14.26.1","DeltaVF_1_BypassCurrent3","1号UPS旁路电流3","1","0","0","1","0","cmd-59","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["57","4.14.26.1","DeltaVF_1_BypassPower3","1号UPS旁路功率3","1","0","0","1","0","cmd-60","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["58","4.14.26.1","DeltaVF_1_BypassVoltage12","1号UPS旁路电压12","1","0","0","1","0","cmd-61","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["59","4.14.26.1","DeltaVF_1_BypassVoltage23","1号UPS旁路电压23","1","0","0","1","0","cmd-62","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["60","4.14.26.1","DeltaVF_1_BypassVoltage31","1号UPS旁路电压31","1","0","0","1","0","cmd-63","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["61","4.14.26.1","DeltaVF_1_BypassSTSTemperature","1号UPS旁路STS温度","1","0","0","1","0","cmd-64","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["62","4.14.26.1","DeltaVF_1_AlarmTemperature","1号UPS温度报警","1","0","0","1","0","cmd-65","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["63","4.14.26.1","DeltaVF_1_AlarmInputBad","1号UPS输入故障报警","1","0","0","1","0","cmd-66","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["64","4.14.26.1","DeltaVF_1_AlarmOutputBad","1号UPS输出故障报警","1","0","0","1","0","cmd-67","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["65","4.14.26.1","DeltaVF_1_AlarmOverload","1号UPS过载报警","1","0","0","1","0","cmd-68","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["66","4.14.26.1","DeltaVF_1_AlarmBypassBad","1号UPS旁路故障报警","1","0","0","1","0","cmd-69","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["67","4.14.26.1","DeltaVF_1_AlarmOutputOff","1号UPS输出关闭报警","1","0","0","1","0","cmd-70","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["68","4.14.26.1","DeltaVF_1_AlarmUPSShutdown","1号UPSUPS关机报警","1","0","0","1","0","cmd-71","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["69","4.14.26.1","DeltaVF_1_AlarmChargerFailure","1号UPS充电故障报警","1","0","0","1","0","cmd-72","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["70","4.14.26.1","DeltaVF_1_AlarmSystemOff","1号UPS系统关闭报警","1","0","0","1","0","cmd-73","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["71","4.14.26.1","DeltaVF_1_AlarmFanFailure","1号UPS风扇故障报警","1","0","0","1","0","cmd-74","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["72","4.14.26.1","DeltaVF_1_AlarmFuseFailure","1号UPS保险丝熔断报警","1","0","0","1","0","cmd-75","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["73","4.14.26.1","DeltaVF_1_AlarmGeneralFault","1号UPS一般故障报警","1","0","0","1","0","cmd-76","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["74","4.14.26.1","DeltaVF_1_AlarmAwaitingPower","1号UPS电力等待报警","1","0","0","1","0","cmd-77","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["75","4.14.26.1","DeltaVF_1_AlarmShutdownPending","1号UPS待停机报警","1","0","0","1","0","cmd-78","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["76","4.14.26.1","DeltaVF_1_AlarmShutdownImminent","1号UPS立即关机报警","1","0","0","1","0","cmd-79","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["77","4.14.26.1","DeltaVF_1_BuzzerStatus","1号UPS蜂鸣器状态","1","0","0","1","0","cmd-80","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["78","4.14.26.1","DeltaVF_1_EconomicMode","1号UPS经济模式","1","0","0","1","0","cmd-81","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["79","4.14.26.1","DeltaVF_1_AlarmInverterBad","1号UPS逆变器故障报警","1","0","0","1","0","cmd-82","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["80","4.14.26.1","DeltaVF_1_EmergencyPowerOff","1号UPS紧急切断电源","1","0","0","1","0","cmd-83","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","报警,"]
["81","4.14.26.1","DeltaVF_1_Communications","1号UPS通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]

{"sheet":"CSpreadSheetBackup","index":2,"n_rows":82,"n_cols":78,"rows_kept":82,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述","备注1","备注2"]
["1","4.14.26.1","DeltaVF_1_BatteryCondition","1号UPS电池条件","1","0","0","1","0","cmd-1","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["2","4.14.26.1","DeltaVF_1_BatteryStatus","1号UPS电池状态","1","0","0","1","0","cmd-2","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["3","4.14.26.1","DeltaVF_1_BatteryCharge","1号UPS电池充电","1","0","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["5","4.14.26.1","DeltaVF_1_EstimatedMinutesRemaining","1号UPS估计剩余分钟","1","0","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Min","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["6","4.14.26.1","DeltaVF_1_EstimatedChargeRemaining","1号UPS估计剩余电量","1","0","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["7","4.14.26.1","DeltaVF_1_BatteryVoltage","1号UPS电池电压","1","0","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["8","4.14.26.1","DeltaVF_1_BatteryCurrent","1号UPS电池电流","1","0","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["10","4.14.26.1","DeltaVF_1_BatteryLevel","1号UPS电池电量","1","0","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","报警描述"]
["11","4.14.26.1","DeltaVF_1_ExternalBattPackNumber","1号UPS外部电池包数","1","0","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","报警描述"]
["12","4.14.26.1","DeltaVF_1_NegativeBatteryVoltage","1号UPS负电池电压","1","0","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["13","4.14.26.1","DeltaVF_1_NegativeBatteryCurrent","1号UPS负电池电流","1","0","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["15","4.14.26.1","DeltaVF_1_NegativeBatteryLevel","1号UPS负电池电量","1","0","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","报警描述"]
["16","4.14.26.1","DeltaVF_1_InputNumLines","1号UPS输入线数","1","0","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","报警描述"]
["17","4.14.26.1","DeltaVF_1_InputFrequency1","1号UPS输入频率1","1","0","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["18","4.14.26.1","DeltaVF_1_InputVoltage1","1号UPS输入电压1","1","0","0","1","0","cmd-18","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["19","4.14.26.1","DeltaVF_1_InputCurrent1","1号UPS输入电流1","1","0","0","1","0","cmd-19","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["20","4.14.26.1","DeltaVF_1_InputPower1","1号UPS输入功率1","1","0","0","1","0","cmd-20","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","99999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["21","4.14.26.1","DeltaVF_1_InputFrequency2","1号UPS输入频率2","1","0","0","1","0","cmd-21","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["22","4.14.26.1","DeltaVF_1_InputVoltage2","1号UPS输入电压2","1","0","0","1","0","cmd-22","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["23","4.14.26.1","DeltaVF_1_InputCurrent2","1号UPS输入电流2","1","0","0","1","0","cmd-23","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["24","4.14.26.1","DeltaVF_1_InputPower2","1号UPS输入功率2","1","0","0","1","0","cmd-24","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","99999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["25","4.14.26.1","DeltaVF_1_InputFrequency3","1号UPS输入频率3","1","0","0","1","0","cmd-25","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["26","4.14.26.1","DeltaVF_1_InputVoltage3","1号UPS输入电压3","1","0","0","1","0","cmd-26","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["27","4.14.26.1","DeltaVF_1_InputCurrent3","1号UPS输入电流3","1","0","0","1","0","cmd-27","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["28","4.14.26.1","DeltaVF_1_InputPower3","1号UPS输入功率3","1","0","0","1","0","cmd-28","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","99999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["29","4.14.26.1","DeltaVF_1_InputVoltage12","1号UPS输入电压12","1","0","0","1","0","cmd-29","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["30","4.14.26.1","DeltaVF_1_InputVoltage23","1号UPS输入电压23","1","0","0","1","0","cmd-30","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["31","4.14.26.1","DeltaVF_1_InputVoltage31","1号UPS输入电压31","1","0","0","1","0","cmd-31","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["32","4.14.26.1","DeltaVF_1_OutputSource","1号UPS输出源","1","0","0","1","0","cmd-32","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","5","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["33","4.14.26.1","DeltaVF_1_OutputFrequency","1号UPS输出频率","1","0","0","1","0","cmd-33","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["34","4.14.26.1","DeltaVF_1_OutputNumLines","1号UPS输出线数","1","0","0","1","0","cmd-34","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["35","4.14.26.1","DeltaVF_1_OutputVoltage1","1号UPS输出电压1","1","0","0","1","0","cmd-35","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["36","4.14.26.1","DeltaVF_1_OutputCurrent1","1号UPS输出电流1","1","0","0","1","0","cmd-36","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["37","4.14.26.1","DeltaVF_1_OutputPower1","1号UPS输出功率1","1","0","0","1","0","cmd-37","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["38","4.14.26.1","DeltaVF_1_OutputLoad1","1号UPS输出负载1","1","0","0","1","0","cmd-38","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["39","4.14.26.1","DeltaVF_1_OutputVoltage2","1号UPS输出电压2","1","0","0","1","0","cmd-39","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["40","4.14.26.1","DeltaVF_1_OutputCurrent2","1号UPS输出电流2","1","0","0","1","0","cmd-40","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["41","4.14.26.1","DeltaVF_1_OutputPower2","1号UPS输出功率2","1","0","0","1","0","cmd-41","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["42","4.14.26.1","DeltaVF_1_OutputLoad2","1号UPS输出负载2","1","0","0","1","0","cmd-42","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["43","4.14.26.1","DeltaVF_1_OutputVoltage3","1号UPS输出电压3","1","0","0","1","0","cmd-43","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["44","4.14.26.1","DeltaVF_1_OutputCurrent3","1号UPS输出电流3","1","0","0","1","0","cmd-44","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["45","4.14.26.1","DeltaVF_1_OutputPower3","1号UPS输出功率3","1","0","0","1","0","cmd-45","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["46","4.14.26.1","DeltaVF_1_OutputLoad3","1号UPS输出负载3","1","0","0","1","0","cmd-46","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["47","4.14.26.1","DeltaVF_1_OutputVoltage12","1号UPS输出电压12","1","0","0","1","0","cmd-47","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["48","4.14.26.1","DeltaVF_1_OutputVoltage23","1号UPS输出电压23","1","0","0","1","0","cmd-48","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["49","4.14.26.1","DeltaVF_1_OutputVoltage31","1号UPS输出电压31","1","0","0","1","0","cmd-49","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["50","4.14.26.1","DeltaVF_1_BypassFrequency","1号UPS旁路频率","1","0","0","1","0","cmd-50","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","Hz","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["51","4.14.26.1","DeltaVF_1_BypassNumLines","1号UPS旁路线数","1","0","0","1","0","cmd-51","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["52","4.14.26.1","DeltaVF_1_BypassVoltage1","1号UPS旁路电压1","1","0","0","1","0","cmd-52","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["53","4.14.26.1","DeltaVF_1_BypassCurrent1","1号UPS旁路电流1","1","0","0","1","0","cmd-53","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["54","4.14.26.1","DeltaVF_1_BypassPower1","1号UPS旁路功率1","1","0","0","1","0","cmd-54","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,","状态描述"]
["55","4.14.26.1","DeltaVF_1_BypassVoltage2","1号UPS旁路电压2","1","0","0","1","0","cmd-55","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["56","4.14.26.1","DeltaVF_1_BypassCurrent2","1号UPS旁路电流2","1","0","0","1","0","cmd-56","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["57","4.14.26.1","DeltaVF_1_BypassPower2","1号UPS旁路功率2","1","0","0","1","0","cmd-57","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["58","4.14.26.1","DeltaVF_1_BypassVoltage3","1号UPS旁路电压3","1","0","0","1","0","cmd-58","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["59","4.14.26.1","DeltaVF_1_BypassCurrent3","1号UPS旁路电流3","1","0","0","1","0","cmd-59","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","A","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["60","4.14.26.1","DeltaVF_1_BypassPower3","1号UPS旁路功率3","1","0","0","1","0","cmd-60","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","kw","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["61","4.14.26.1","DeltaVF_1_BypassVoltage12","1号UPS旁路电压12","1","0","0","1","0","cmd-61","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["62","4.14.26.1","DeltaVF_1_BypassVoltage23","1号UPS旁路电压23","1","0","0","1","0","cmd-62","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["63","4.14.26.1","DeltaVF_1_BypassVoltage31","1号UPS旁路电压31","1","0","0","1","0","cmd-63","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","V","300","0.1","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","9999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["64","4.14.26.1","DeltaVF_1_BypassSTSTemperature","1号UPS旁路STS温度","1","0","0","1","0","cmd-64","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","999","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["65","4.14.26.1","DeltaVF_1_AlarmTemperature","1号UPS温度报警","1","0","0","1","0","cmd-65","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["66","4.14.26.1","DeltaVF_1_AlarmInputBad","1号UPS输入故障报警","1","0","0","1","0","cmd-66","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["67","4.14.26.1","DeltaVF_1_AlarmOutputBad","1号UPS输出故障报警","1","0","0","1","0","cmd-67","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["68","4.14.26.1","DeltaVF_1_AlarmOverload","1号UPS过载报警","1","0","0","1","0","cmd-68","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["69","4.14.26.1","DeltaVF_1_AlarmBypassBad","1号UPS旁路故障报警","1","0","0","1","0","cmd-69","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["70","4.14.26.1","DeltaVF_1_AlarmOutputOff","1号UPS输出关闭报警","1","0","0","1","0","cmd-70","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["71","4.14.26.1","DeltaVF_1_AlarmUPSShutdown","1号UPSUPS关机报警","1","0","0","1","0","cmd-71","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["72","4.14.26.1","DeltaVF_1_AlarmChargerFailure","1号UPS充电故障报警","1","0","0","1","0","cmd-72","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["73","4.14.26.1","DeltaVF_1_AlarmSystemOff","1号UPS系统关闭报警","1","0","0","1","0","cmd-73","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["74","4.14.26.1","DeltaVF_1_AlarmFanFailure","1号UPS风扇故障报警","1","0","0","1","0","cmd-74","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["75","4.14.26.1","DeltaVF_1_AlarmFuseFailure","1号UPS保险丝熔断报警","1","0","0","1","0","cmd-75","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["76","4.14.26.1","DeltaVF_1_AlarmGeneralFault","1号UPS一般故障报警","1","0","0","1","0","cmd-76","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["77","4.14.26.1","DeltaVF_1_AlarmAwaitingPower","1号UPS电力等待报警","1","0","0","1","0","cmd-77","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["78","4.14.26.1","DeltaVF_1_AlarmShutdownPending","1号UPS待停机报警","1","0","0","1","0","cmd-78","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["79","4.14.26.1","DeltaVF_1_AlarmShutdownImminent","1号UPS立即关机报警","1","0","0","1","0","cmd-79","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["80","4.14.26.1","DeltaVF_1_BuzzerStatus","1号UPS蜂鸣器状态","1","0","0","1","0","cmd-80","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["81","4.14.26.1","DeltaVF_1_EconomicMode","1号UPS经济模式","1","0","0","1","0","cmd-81","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["82","4.14.26.1","DeltaVF_1_AlarmInverterBad","1号UPS逆变器故障报警","1","0","0","1","0","cmd-82","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["83","4.14.26.1","DeltaVF_1_EmergencyPowerOff","1号UPS紧急切断电源","1","0","0","1","0","cmd-83","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","131",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","1","1,","报警,"]
["1","4.14.26.1","DeltaVF_1_Communications","1号UPS通信状态","1000","0","0","1","0",null,null,"0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","137",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]