{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["变量dat文件","CSpreadSheetBackup"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"变量dat文件","index":0,"n_rows":78,"n_cols":76,"rows_kept":78,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","14.1.127.1","Num1bay_BayCounts","A1电池单体数量","1","0","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","1","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["2","14.1.127.1","Num1bay_BayVo1","A1-1电压","1","0","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["3","14.1.127.1","Num1bay_BayVo2","A1-2电压","1","0","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["4","14.1.127.1","Num1bay_BayVo3","A1-3电压","1","0","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["5","14.1.127.1","Num1bay_BayVo4","A1-4电压","1","0","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["6","14.1.127.1","Num1bay_BayVo5","A1-5电压","1","0","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["7","14.1.127.1","Num1bay_BayVo6","A1-6电压","1","0","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["8","14.1.127.1","Num1bay_BayVo7","A1-7电压","1","0","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["9","14.1.127.1","Num1bay_BayVo8","A1-8电压","1","0","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["10","14.1.127.1","Num1bay_BayVo9","A1-9电压","1","0","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["11","14.1.127.1","Num1bay_BayVo10","A1-10电压","1","0","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["12","14.1.127.1","Num1bay_BayVo11","A1-11电压","1","0","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["13","14.1.127.1","Num1bay_BayVo12","A1-12电压","1","0","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["14","14.1.127.1","Num1bay_BayVo13","A1-13电压","1","0","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["15","14.1.127.1","Num1bay_BayVo14","A1-14电压","1","0","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["16","14.1.127.1","Num1bay_BayVo15","A1-15电压","1","0","0","1","0","cmd-18","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["17","14.1.127.1","Num1bay_BayVo16","A1-16电压","1","0","0","1","0","cmd-19","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["18","14.1.127.1","Num1bay_BayVo17","A1-17电压","1","0","0","1","0","cmd-20","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["19","14.1.127.1","Num1bay_BayVo18","A1-18电压","1","0","0","1","0","cmd-21","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["20","14.1.127.1","Num1bay_BayVo19","A1-19电压","1","0","0","1","0","cmd-22","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["21","14.1.127.1","Num1bay_BayVo20","A1-20电压","1","0","0","1","0","cmd-23","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["22","14.1.127.1","Num1bay_BayVo21","A1-21电压","1","0","0","1","0","cmd-24","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["23","14.1.127.1","Num1bay_BayVo22","A1-22电压","1","0","0","1","0","cmd-25","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["24","14.1.127.1","Num1bay_BayVo23","A1-23电压","1","0","0","1","0","cmd-26","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["25","14.1.127.1","Num1bay_BayVo24","A1-24电压","1","0","0","1","0","cmd-27","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["26","14.1.127.1","Num1bay_BayVo25","A1-25电压","1","0","0","1","0","cmd-28","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["27","14.1.127.1","Num1bay_BayVo26","A1-26电压","1","0","0","1","0","cmd-29","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["28","14.1.127.1","Num1bay_BayVo27","A1-27电压","1","0","0","1","0","cmd-30","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["29","14.1.127.1","Num1bay_BayVo28","A1-28电压","1","0","0","1","0","cmd-31","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["30","14.1.127.1","Num1bay_BayVo29","A1-29电压","1","0","0","1","0","cmd-32","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["31","14.1.127.1","Num1bay_BayVo30","A1-30电压","1","0","0","1","0","cmd-33","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["32","14.1.127.1","Num1bay_BayVo31","A1-31电压","1","0","0","1","0","cmd-34","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["33","14.1.127.1","Num1bay_BayVo32","A1-32电压","1","0","0","1","0","cmd-35","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["34","14.1.127.1","Num1bay_BayTotalVol","A1电池组总电压数","1","0","0","1","0","cmd-36","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","1","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["35","14.1.127.1","Num1bay_BayVolTotal","A1总电压","1","0","0","1","0","cmd-37","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","v","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","3","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["36","14.1.127.1","Num1bay_BayCh\\DiChTotal","A1蓄电池组充\\放电电流数","1","0","0","1","0","cmd-38","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","3","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["37","14.1.127.1","Num1bay_BayCurrent","A1电流","1","0","0","1","0","cmd-39","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["38","14.1.127.1","Num1bay_BayTemp1","A1电池温度1","1","0","0","1","0","cmd-41","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","3","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["39","14.1.127.1","Num1bay_BayTemp2","A1电池温度2","1","0","0","1","0","cmd-42","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","℃","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["41","14.1.127.1","Num1bay_BayCounuts","A1电池组额定容量数","1","0","0","1","0","cmd-43","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["43","14.1.127.1","Num1bay_BayCapacity","A1电池组额定容量值","1","0","0","1","0","cmd-44","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","%","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","8000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["40","14.1.127.1","Num1bay_BayTimeEndure","A1电池组后备时间数","1","0","0","1","0","cmd-45","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","2","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["44","14.1.127.1","Num1bay_BayRemainTime","A1电池组后备时间值","1","0","0","1","0","cmd-46","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","分钟","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["45","14.1.127.1","Num1bay_Bayohm1","A1-1内阻","1","0","0","1","0","cmd-49","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["46","14.1.127.1","Num1bay_Bayohm2","A1-2内阻","1","0","0","1","0","cmd-50","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["47","14.1.127.1","Num1bay_Bayohm3","A1-3内阻","1","0","0","1","0","cmd-51","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["48","14.1.127.1","Num1bay_Bayohm4","A1-4内阻","1","0","0","1","0","cmd-52","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["49","14.1.127.1","Num1bay_Bayohm5","A1-5内阻","1","0","0","1","0","cmd-53","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["50","14.1.127.1","Num1bay_Bayohm6","A1-6内阻","1","0","0","1","0","cmd-54","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["51","14.1.127.1","Num1bay_Bayohm7","A1-7内阻","1","0","0","1","0","cmd-55","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["52","14.1.127.1","Num1bay_Bayohm8","A1-8内阻","1","0","0","1","0","cmd-56","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["53","14.1.127.1","Num1bay_Bayohm9","A1-9内阻","1","0","0","1","0","cmd-57","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["54","14.1.127.1","Num1bay_Bayohm10","A1-10内阻","1","0","0","1","0","cmd-58","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["55","14.1.127.1","Num1bay_Bayohm11","A1-11内阻","1","0","0","1","0","cmd-59","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["56","14.1.127.1","Num1bay_Bayohm12","A1-12内阻","1","0","0","1","0","cmd-60","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["57","14.1.127.1","Num1bay_Bayohm13","A1-13内阻","1","0","0","1","0","cmd-61","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["58","14.1.127.1","Num1bay_Bayohm14","A1-14内阻","1","0","0","1","0","cmd-62","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["59","14.1.127.1","Num1bay_Bayohm15","A1-15内阻","1","0","0","1","0","cmd-63","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["60","14.1.127.1","Num1bay_Bayohm16","A1-16内阻","1","0","0","1","0","cmd-64","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["61","14.1.127.1","Num1bay_Bayohm17","A1-17内阻","1","0","0","1","0","cmd-65","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["62","14.1.127.1","Num1bay_Bayohm18","A1-18内阻","1","0","0","1","0","cmd-66","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["63","14.1.127.1","Num1bay_Bayohm19","A1-19内阻","1","0","0","1","0","cmd-67","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["64","14.1.127.1","Num1bay_Bayohm20","A1-20内阻","1","0","0","1","0","cmd-68","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["65","14.1.127.1","Num1bay_Bayohm21","A1-21内阻","1","0","0","1","0","cmd-69","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["66","14.1.127.1","Num1bay_Bayohm22","A1-22内阻","1","0","0","1","0","cmd-70","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["67","14.1.127.1","Num1bay_Bayohm23","A1-23内阻","1","0","0","1","0","cmd-71","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["68","14.1.127.1","Num1bay_Bayohm24","A1-24内阻","1","0","0","1","0","cmd-72","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["69","14.1.127.1","Num1bay_Bayohm25","A1-25内阻","1","0","0","1","0","cmd-73","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["70","14.1.127.1","Num1bay_Bayohm26","A1-26内阻","1","0","0","1","0","cmd-74","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["71","14.1.127.1","Num1bay_Bayohm27","A1-27内阻","1","0","0","1","0","cmd-75","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["72","14.1.127.1","Num1bay_Bayohm28","A1-28内阻","1","0","0","1","0","cmd-76","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["73","14.1.127.1","Num1bay_Bayohm29","A1-29内阻","1","0","0","1","0","cmd-77","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["74","14.1.127.1","Num1bay_Bayohm30","A1-30内阻","1","0","0","1","0","cmd-78","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["75","14.1.127.1","Num1bay_Bayohm31","A1-31内阻","1","0","0","1","0","cmd-79","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["76","14.1.127.1","Num1bay_Bayohm32","A1-32内阻","1","0","0","1","0","cmd-80","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0","mΩ","300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["77","14.1.127.1","Num1bay_BayVolTotals","A1电池组总电压数","1","0","0","1","0","cmd-81","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["1","14.1.127.1","Num1bay_Communications","A1通信状态","1000","0","0","1","0","","","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","2","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0","1","1,","断开,"]

{"sheet":"CSpreadSheetBackup","index":1,"n_rows":77,"n_cols":76,"rows_kept":77,"flags":["formulas_cached_only"]}
["变量ID","设备Uid","变量名称","变量描述","变量类型ID","变量数据长度","请求寄存器个数","功能码id","寄存器起始地址","命令","类型","索引","辨识时间","重新检测等待时间","恢复正常是否触发远程报警","snmp对象oid","SNMP域","最大值","最小值","最大转换比率","最小转换比率","下限","上限","正常状态","校正值","偏移值","单位","采集频率","转换系数","告警级别","读写权限","是否保存数值","是否实时采集数据","是否记录实时曲线","是否允许DDE访问","寄存器子ID","位信息ID","设备类型ID","开的描述","关的描述","设定值","变量起始BIT位","变量终止BIT位","预留1_Str","预留2_Str","预留3_Str","预留4_Str","预留5_Str","预留6_Str","预留7_Str","预留8_Str","预留9_Str","预留10_Str","预留1_Int","预留2_Int","预留3_Int","预留4_Int","预留5_Int","预留6_Int","预留7_Int","预留8_Int","预留9_Int","预留10_Int","预留1_Bool","预留2_Bool","预留3_Bool","预留4_Bool","预留5_Bool","预留6_Bool","预留7_Bool","预留8_Bool","预留9_Bool","预留10_Bool","变量状态个数","变量状态ID","变量状态描述"]
["1","14.1.127.1","Num1bay_BayCounts","A1电池单体数量","1","0","0","1","0","cmd-3","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","1","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["2","14.1.127.1","Num1bay_BayVo1","A1-1电压","1","0","0","1","0","cmd-4","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["3","14.1.127.1","Num1bay_BayVo2","A1-2电压","1","0","0","1","0","cmd-5","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["4","14.1.127.1","Num1bay_BayVo3","A1-3电压","1","0","0","1","0","cmd-6","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["5","14.1.127.1","Num1bay_BayVo4","A1-4电压","1","0","0","1","0","cmd-7","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["6","14.1.127.1","Num1bay_BayVo5","A1-5电压","1","0","0","1","0","cmd-8","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["7","14.1.127.1","Num1bay_BayVo6","A1-6电压","1","0","0","1","0","cmd-9","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["8","14.1.127.1","Num1bay_BayVo7","A1-7电压","1","0","0","1","0","cmd-10","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["9","14.1.127.1","Num1bay_BayVo8","A1-8电压","1","0","0","1","0","cmd-11","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["10","14.1.127.1","Num1bay_BayVo9","A1-9电压","1","0","0","1","0","cmd-12","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["11","14.1.127.1","Num1bay_BayVo10","A1-10电压","1","0","0","1","0","cmd-13","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["12","14.1.127.1","Num1bay_BayVo11","A1-11电压","1","0","0","1","0","cmd-14","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["13","14.1.127.1","Num1bay_BayVo12","A1-12电压","1","0","0","1","0","cmd-15","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["14","14.1.127.1","Num1bay_BayVo13","A1-13电压","1","0","0","1","0","cmd-16","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["15","14.1.127.1","Num1bay_BayVo14","A1-14电压","1","0","0","1","0","cmd-17","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["16","14.1.127.1","Num1bay_BayVo15","A1-15电压","1","0","0","1","0","cmd-18","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["17","14.1.127.1","Num1bay_BayVo16","A1-16电压","1","0","0","1","0","cmd-19","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["18","14.1.127.1","Num1bay_BayVo17","A1-17电压","1","0","0","1","0","cmd-20","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["19","14.1.127.1","Num1bay_BayVo18","A1-18电压","1","0","0","1","0","cmd-21","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["20","14.1.127.1","Num1bay_BayVo19","A1-19电压","1","0","0","1","0","cmd-22","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["21","14.1.127.1","Num1bay_BayVo20","A1-20电压","1","0","0","1","0","cmd-23","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["22","14.1.127.1","Num1bay_BayVo21","A1-21电压","1","0","0","1","0","cmd-24","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["23","14.1.127.1","Num1bay_BayVo22","A1-22电压","1","0","0","1","0","cmd-25","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["24","14.1.127.1","Num1bay_BayVo23","A1-23电压","1","0","0","1","0","cmd-26","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["25","14.1.127.1","Num1bay_BayVo24","A1-24电压","1","0","0","1","0","cmd-27","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["26","14.1.127.1","Num1bay_BayVo25","A1-25电压","1","0","0","1","0","cmd-28","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["27","14.1.127.1","Num1bay_BayVo26","A1-26电压","1","0","0","1","0","cmd-29","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["28","14.1.127.1","Num1bay_BayVo27","A1-27电压","1","0","0","1","0","cmd-30","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["29","14.1.127.1","Num1bay_BayVo28","A1-28电压","1","0","0","1","0","cmd-31","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["30","14.1.127.1","Num1bay_BayVo29","A1-29电压","1","0","0","1","0","cmd-32","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["31","14.1.127.1","Num1bay_BayVo30","A1-30电压","1","0","0","1","0","cmd-33","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["32","14.1.127.1","Num1bay_BayVo31","A1-31电压","1","0","0","1","0","cmd-34","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["33","14.1.127.1","Num1bay_BayVo32","A1-32电压","1","0","0","1","0","cmd-35","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["34","14.1.127.1","Num1bay_BayTotalVol","A1电池组总电压数","1","0","0","1","0","cmd-53","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","1","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["35","14.1.127.1","Num1bay_BayVolTotal","A1总电压","1","0","0","1","0","cmd-54","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","3","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["36","14.1.127.1","Num1bay_BayCh\\DiChTotal","A1蓄电池组充\\放电电流数","1","0","0","1","0","cmd-55","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","3","0",{"$nulls":10},"0","0","500","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["37","14.1.127.1","Num1bay_BayCurrent","A1电流","1","0","0","1","0","cmd-56","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","10","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["38","14.1.127.1","Num1bay_BayTemp1","A1电池温度1","1","0","0","1","0","cmd-58","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","3","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["39","14.1.127.1","Num1bay_BayTemp2","A1电池温度2","1","0","0","1","0","cmd-59","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["41","14.1.127.1","Num1bay_BayCounuts","A1电池组额定容量数","1","0","0","1","0","cmd-60","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["43","14.1.127.1","Num1bay_BayCapacity","A1电池组额定容量","1","0","0","1","0","cmd-61","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","8000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["40","14.1.127.1","Num1bay_BayTimeEndure","A1电池组后备时间数","1","0","0","1","0","cmd-62","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","2","0",{"$nulls":10},"0","0","100","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["44","14.1.127.1","Num1bay_BayCapacityValue","A1电池组额定容量值","1","0","0","1","0","cmd-63","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["45","14.1.127.1","Num1bay_Bayohm1","A1-1内阻","1","0","0","1","0","cmd-66","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["46","14.1.127.1","Num1bay_Bayohm2","A1-2内阻","1","0","0","1","0","cmd-67","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["47","14.1.127.1","Num1bay_Bayohm3","A1-3内阻","1","0","0","1","0","cmd-68","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["48","14.1.127.1","Num1bay_Bayohm4","A1-4内阻","1","0","0","1","0","cmd-69","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["49","14.1.127.1","Num1bay_Bayohm5","A1-5内阻","1","0","0","1","0","cmd-70","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["50","14.1.127.1","Num1bay_Bayohm6","A1-6内阻","1","0","0","1","0","cmd-71","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["51","14.1.127.1","Num1bay_Bayohm7","A1-7内阻","1","0","0","1","0","cmd-72","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["52","14.1.127.1","Num1bay_Bayohm8","A1-8内阻","1","0","0","1","0","cmd-73","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["53","14.1.127.1","Num1bay_Bayohm9","A1-9内阻","1","0","0","1","0","cmd-74","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["54","14.1.127.1","Num1bay_Bayohm10","A1-10内阻","1","0","0","1","0","cmd-75","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["55","14.1.127.1","Num1bay_Bayohm11","A1-11内阻","1","0","0","1","0","cmd-76","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["56","14.1.127.1","Num1bay_Bayohm12","A1-12内阻","1","0","0","1","0","cmd-77","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["57","14.1.127.1","Num1bay_Bayohm13","A1-13内阻","1","0","0","1","0","cmd-78","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["58","14.1.127.1","Num1bay_Bayohm14","A1-14内阻","1","0","0","1","0","cmd-79","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["59","14.1.127.1","Num1bay_Bayohm15","A1-15内阻","1","0","0","1","0","cmd-80","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["60","14.1.127.1","Num1bay_Bayohm16","A1-16内阻","1","0","0","1","0","cmd-81","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["61","14.1.127.1","Num1bay_Bayohm17","A1-17内阻","1","0","0","1","0","cmd-82","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["62","14.1.127.1","Num1bay_Bayohm18","A1-18内阻","1","0","0","1","0","cmd-83","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["63","14.1.127.1","Num1bay_Bayohm19","A1-19内阻","1","0","0","1","0","cmd-84","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["64","14.1.127.1","Num1bay_Bayohm20","A1-20内阻","1","0","0","1","0","cmd-85","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["65","14.1.127.1","Num1bay_Bayohm21","A1-21内阻","1","0","0","1","0","cmd-86","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["66","14.1.127.1","Num1bay_Bayohm22","A1-22内阻","1","0","0","1","0","cmd-87","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["67","14.1.127.1","Num1bay_Bayohm23","A1-23内阻","1","0","0","1","0","cmd-88","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["68","14.1.127.1","Num1bay_Bayohm24","A1-24内阻","1","0","0","1","0","cmd-89","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["69","14.1.127.1","Num1bay_Bayohm25","A1-25内阻","1","0","0","1","0","cmd-90","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["70","14.1.127.1","Num1bay_Bayohm26","A1-26内阻","1","0","0","1","0","cmd-91","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["71","14.1.127.1","Num1bay_Bayohm27","A1-27内阻","1","0","0","1","0","cmd-92","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["72","14.1.127.1","Num1bay_Bayohm28","A1-28内阻","1","0","0","1","0","cmd-93","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["73","14.1.127.1","Num1bay_Bayohm29","A1-29内阻","1","0","0","1","0","cmd-94","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["74","14.1.127.1","Num1bay_Bayohm30","A1-30内阻","1","0","0","1","0","cmd-95","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["75","14.1.127.1","Num1bay_Bayohm31","A1-31内阻","1","0","0","1","0","cmd-96","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["76","14.1.127.1","Num1bay_Bayohm32","A1-32内阻","1","0","0","1","0","cmd-97","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","1000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]
["77","14.1.127.1","Num1bay_BayVolTotals","A1电池组总电压数","1","0","0","1","0","cmd-115","type-1","0","30","60","1",null,null,"0","0","0","0","0","0","0","0","0",null,"300","1.0000000000","3","0","1","1","0","0","0","0","127",null,null,"0","0","0",{"$nulls":10},"0","0","10000","0","0","0","0","0","0","0","0","0","1","0","0","0","0","0","0","0","0"]