{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet1 (2)"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":28,"n_cols":15,"rows_kept":28,"cut":false,"hidden":false,"merged":[]}
[]
["输入Pattern","R","G","B",255,230,204,179,153,128,102,77,51,26,0]
["X",{"$f":"B15","v":120.6},{"$f":"B16","v":135.44999999999999},{"$f":"B17","v":107.26},{"$f":"B18","v":362.61},{"$f":"B19","v":285.89999999999998},{"$f":"B20","v":218.08},{"$f":"B21","v":161.76},{"$f":"B22","v":114.99},{"$f":"B23","v":77.108000000000004},{"$f":"B24","v":47.444000000000003},{"$f":"B25","v":25.491},{"$f":"B26","v":10.492000000000001},{"$f":"B27","v":2.2795000000000001},{"$f":"B28","v":6.1600000000000002E-2}]
["Y",{"$f":"C15","v":62.476999999999997},{"$f":"C16","v":266.43},{"$f":"C17","v":44.893000000000001},{"$f":"C18","v":373.09},{"$f":"C19","v":292.76},{"$f":"C20","v":222.79},{"$f":"C21","v":164.91},{"$f":"C22","v":117},{"$f":"C23","v":78.334000000000003},{"$f":"C24","v":48.142000000000003},{"$f":"C25","v":25.86},{"$f":"C26","v":10.603},{"$f":"C27","v":2.2993999999999999},{"$f":"C28","v":5.11E-2}]
["Z",{"$f":"D15","v":4.2018000000000004},{"$f":"D16","v":36.332000000000001},{"$f":"D17","v":549.87},{"$f":"D18","v":589.24},{"$f":"D19","v":470.19},{"$f":"D20","v":360.83},{"$f":"D21","v":269.41000000000003},{"$f":"D22","v":192.63},{"$f":"D23","v":129.94},{"$f":"D24","v":80.323999999999998},{"$f":"D25","v":43.151000000000003},{"$f":"D26","v":17.885999999999999},{"$f":"D27","v":3.9641000000000002},{"$f":"D28","v":0.1608}]
[]
[]
[null,"target"]
["x",0.27368031759928751]
["y",0.28159010974081844]
["gamma",2.2000000000000002]
[]
[]
[null,"X","Y","Z"]
["R",120.6,62.476999999999997,4.2018000000000004]
["G",135.44999999999999,266.43,36.332000000000001]
["B",107.26,44.893000000000001,549.87]
[100,362.61,373.09,589.24,null,{"$f":"B18/(B18+C18+D18)","v":0.27368031759928751},{"$f":"C18/(B18+C18+D18)","v":0.28159010974081844}]
[90,285.89999999999998,292.76,470.19]
[80,218.08,222.79,360.83]
[70,161.76,164.91,269.41000000000003]
[60,114.99,117,192.63]
[50,77.108000000000004,78.334000000000003,129.94]
[40,47.444000000000003,48.142000000000003,80.323999999999998]
[30,25.491,25.86,43.151000000000003]
[20,10.492000000000001,10.603,17.885999999999999]
[10,2.2795000000000001,2.2993999999999999,3.9641000000000002]
[0,6.1600000000000002E-2,5.11E-2,0.1608]

{"sheet":"Sheet1 (2)","index":1,"n_rows":29,"n_cols":16,"rows_kept":29,"cut":false,"hidden":false,"merged":[[1,15,1,19],[3,15,5,19]]}
[]
[null,"R","G","B",255,230,204,179,153,128,102,77,51,26,0,"内置pattern，通过串口命令切换"]
["归一化","1,0,0","0,1,0","0,0,1","1,1,1","0.9,0.9,0.9","0.8,0.8,0.8",0.7,0.6,0.5,0.4,0.3,0.2,0.1,0]
["X",{"$f":"B16","v":120.6},{"$f":"B17","v":135.44999999999999},{"$f":"B18","v":107.26},{"$f":"B19","v":362.61},{"$f":"B20","v":285.89999999999998},{"$f":"B21","v":218.08},{"$f":"B22","v":161.76},{"$f":"B23","v":114.99},{"$f":"B24","v":77.108000000000004},{"$f":"B25","v":47.444000000000003},{"$f":"B26","v":25.491},{"$f":"B27","v":10.492000000000001},{"$f":"B28","v":2.2795000000000001},{"$f":"B29","v":6.1600000000000002E-2},"色温仪CA410读取出的数据"]
["Y",{"$f":"C16","v":62.476999999999997},{"$f":"C17","v":266.43},{"$f":"C18","v":44.893000000000001},{"$f":"C19","v":373.09},{"$f":"C20","v":292.76},{"$f":"C21","v":222.79},{"$f":"C22","v":164.91},{"$f":"C23","v":117},{"$f":"C24","v":78.334000000000003},{"$f":"C25","v":48.142000000000003},{"$f":"C26","v":25.86},{"$f":"C27","v":10.603},{"$f":"C28","v":2.2993999999999999},{"$f":"C29","v":5.11E-2}]
["Z",{"$f":"D16","v":4.2018000000000004},{"$f":"D17","v":36.332000000000001},{"$f":"D18","v":549.87},{"$f":"D19","v":589.24},{"$f":"D20","v":470.19},{"$f":"D21","v":360.83},{"$f":"D22","v":269.41000000000003},{"$f":"D23","v":192.63},{"$f":"D24","v":129.94},{"$f":"D25","v":80.323999999999998},{"$f":"D26","v":43.151000000000003},{"$f":"D27","v":17.885999999999999},{"$f":"D28","v":3.9641000000000002},{"$f":"D29","v":0.1608}]
[]
[]
[null,"target"]
["x",0.27368031759928751]
["y",0.28159010974081844]
["gamma",2.2000000000000002]
[]
[]
[null,"X","Y","Z"]
["R",120.6,62.476999999999997,4.2018000000000004]
["G",135.44999999999999,266.43,36.332000000000001]
["B",107.26,44.893000000000001,549.87]
[100,362.61,373.09,589.24,null,{"$f":"B19/(B19+C19+D19)","v":0.27368031759928751},{"$f":"C19/(B19+C19+D19)","v":0.28159010974081844}]
[90,285.89999999999998,292.76,470.19]
[80,218.08,222.79,360.83]
[70,161.76,164.91,269.41000000000003]
[60,114.99,117,192.63]
[50,77.108000000000004,78.334000000000003,129.94]
[40,47.444000000000003,48.142000000000003,80.323999999999998]
[30,25.491,25.86,43.151000000000003]
[20,10.492000000000001,10.603,17.885999999999999]
[10,2.2795000000000001,2.2993999999999999,3.9641000000000002]
[0,6.1600000000000002E-2,5.11E-2,0.1608]